{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["GCDkid_data_setup","20170412_TE_QZ_All_Integrations"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"GCDkid_data_setup","index":0,"n_rows":29,"n_cols":28,"rows_kept":29,"cut":false,"hidden":false,"merged":[]}
["Internal Standard"]
["Si","INT_2SE"]
["Si29_CPS","Si29_CPS_Int2SE","IntStdWv","IntStdWv_Int2SE",null,"Li","Na","Mg","Al","P","Ti","V","Cr","Fe","Ga","Ge","Sr","Nb","Ba","La","Sm","Gd","Dy","Lu","Hf","Pb","Th","U"]
[295600,5000,33.6,1,"G_NIST612_1",42.7,104000,78.430000000000007,11190,50.6,43.32,38.479999999999997,35.729999999999997,49.65,35.56,34.68,77.599999999999994,39.67,38.619999999999997,34.93,37.92,36.28,35.76,36.85,34.54,38.119999999999997,38.380000000000003,37.130000000000003]
[293900,4800,33.6,1,"G_NIST612_2",40.799999999999997,103600,78.19,11230,52.3,44.27,38.99,36.89,51.63,35.93,34.92,79,40.409999999999997,39.86,35.590000000000003,38.6,37,36.520000000000003,37.700000000000003,35.229999999999997,38.67,38.99,37.590000000000003]
[294300,4800,33.6,1,"G_NIST612_3",42.7,103100,77.67,10950,52,44.11,39.25,35.619999999999997,51.2,36,35.19,79.5,40.53,39.82,35.42,38.26,36.56,36.299999999999997,37.49,35.06,38.880000000000003,38.92,37.97]
[298900,5800,33.6,1,"G_NIST612_4",42.6,104000,76.73,10950,50.2,44.4,39.15,36.17,51.95,36.020000000000003,35.36,78.900000000000006,40.35,39.58,35.15,38.26,36.590000000000003,36.28,37.39,34.840000000000003,38.36,38.729999999999997,37.71]
[298300,5900,33.6,1,"G_NIST612_5",42.2,104200,78.3,11150,51.6,44.41,39.909999999999997,36.130000000000003,52.1,36.200000000000003,35.56,79.7,40.67,40.07,35.4,38.340000000000003,36.56,36.08,37.39,34.97,39.35,38.950000000000003,38.06]
[309100,5500,33.6,1,"G_NIST612_6",41.1,102300,76.760000000000005,11080,50.8,44.3,38.549999999999997,35.65,49.79,35.549999999999997,34.61,77.400000000000006,39.729999999999997,38.82,35.01,37.840000000000003,36.24,35.75,37.15,34.6,37.75,38.409999999999997,36.99]
[302200,5600,33.6,1,"G_NIST612_7",42.7,105100,79,11070,50.9,43.82,39.31,36.36,51.02,36.049999999999997,35.4,79.5,40.26,40.119999999999997,35.14,38.24,36.479999999999997,36.04,37.090000000000003,34.78,39.5,38.869999999999997,38.19]
[308800,5500,33.6,1,"G_NIST612_8",41.9,103700,78.099999999999994,11180,51.8,43.94,38.69,36.18,51.8,35.69,34.64,78.400000000000006,40.28,39.020000000000003,35.340000000000003,38.409999999999997,36.81,36.54,37.549999999999997,35.06,38.229999999999997,39.01,37.409999999999997]
[{"$nulls":5},"Li","Na","Mg","Al","P","Ti","V","Cr","Fe","Ga","Ge","Sr","Nb","Ba","La","Sm","Gd","Dy","Lu","Hf","Pb","Th","U"]
[286100,6200,33.6,1,"G_NIST614_1",2.1800000000000002,103600,38.56,10880,20.8,3.19,1.024,7.31,11.91,1.103,0.94699999999999995,46.41,0.83899999999999997,3.2589999999999999,0.69399999999999995,0.79400000000000004,0.74299999999999999,0.747,0.73599999999999999,0.67600000000000005,2.2650000000000001,0.77800000000000002,0.84799999999999998]
[278200,4900,33.6,1,"G_NIST614_2","Below LOD",100500,38.24,10880,21.8,3.3,1.0109999999999999,7.4,11.21,1.121,0.95599999999999996,46.76,0.84199999999999997,3.258,0.70899999999999996,0.77300000000000002,0.746,0.77100000000000002,0.752,0.69,2.274,0.79400000000000004,0.82399999999999995]
[293400,6600,33.6,1,"G_NIST614_3",2.91,102800,39.020000000000003,10960,21.6,3.31,1.028,5.94,13.15,1.0880000000000001,0.91900000000000004,45.92,0.83299999999999996,3.1160000000000001,0.68600000000000005,0.754,0.71899999999999997,0.755,0.72699999999999998,0.68,2.2589999999999999,0.76800000000000002,0.82899999999999996]
[283800,5700,33.6,1,"G_NIST614_4","Below LOD",103800,39.36,11260,21.8,3.23,1.0169999999999999,6.91,11.28,1.1259999999999999,0.98899999999999999,46.83,0.84299999999999997,3.2280000000000002,0.70199999999999996,0.78500000000000003,0.76800000000000002,0.76400000000000001,0.749,0.70499999999999996,2.3069999999999999,0.78800000000000003,0.82899999999999996]
[289300,6500,33.6,1,"G_NIST614_5",1.79,104500,40.18,11140,22.3,3.21,1.0429999999999999,6.05,12.06,1.1319999999999999,1.0760000000000001,46.35,0.84399999999999997,3.218,0.71099999999999997,0.77400000000000002,0.72699999999999998,0.74099999999999999,0.73599999999999999,0.68100000000000005,2.339,0.78200000000000003,0.84199999999999997]
[{"$nulls":5},"Li","Na","Mg","Al","P","Ti","V","Cr","Fe","Ga","Ge","Sr","Nb","Ba","La","Sm","Gd","Dy","Lu","Hf","Pb","Th","U"]
[281700,5400,46.7,1,"Output_1_1","Below LOD","Below LOD",0.44,24.7,17.7,23.3,"Below LOD",27.6,"Below LOD","Below LOD",0.89400000000000002,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",4.7000000000000002E-3,"Below LOD","Below LOD"]
[325600,5900,46.7,1,"Output_1_2","Below LOD","Below LOD",2,"Below LOD",14.4,2.5099999999999998,"Below LOD",15.3,"Below LOD","Below LOD",0.73299999999999998,2.8799999999999999E-2,"Below LOD",3.9E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD"]
[316000,8600,46.7,1,"Output_1_3",2.19,"Below LOD",6.18,244,16.2,52.7,"Below LOD",13.84,47.5,4.65E-2,0.92700000000000005,0.33200000000000002,5.5999999999999999E-3,1.6,3.5000000000000003E-2,5.8999999999999999E-3,4.4999999999999997E-3,3.2000000000000002E-3,"Below LOD","Below LOD",0.153,1.7700000000000001E-3,"Below LOD"]
[320800,8000,46.7,1,"Output_1_4",6.6,"Below LOD",0.86,187,14.5,104.7,"Below LOD",11.42,11,2.9100000000000001E-2,0.70799999999999996,5.67E-2,2.0200000000000001E-3,3.7999999999999999E-2,9.8000000000000004E-2,9.2999999999999992E-3,1.17E-2,1.2800000000000001E-2,9.5E-4,"Below LOD",0.115,8.5000000000000006E-3,4.1000000000000003E-3]
[310000,23000,46.7,1,"Output_1_5",3.7,"Below LOD",10.4,166,11.6,144,"Below LOD",32.200000000000003,43.7,2.1999999999999999E-2,1.107,0.35,3.8999999999999998E-3,0.45200000000000001,5.5899999999999998E-2,6.6E-3,"Below LOD","Below LOD","Below LOD","Below LOD",3.8,1.2200000000000001E-2,6.0000000000000001E-3]
[330000,10000,46.7,1,"Output_1_6",5.9,"Below LOD",11.3,475,15.7,8.6999999999999993,0.161,13.44,32.5,1.5100000000000001E-2,1.3140000000000001,3.39,3.4700000000000002E-2,1.79,4.2999999999999997E-2,9.2999999999999992E-3,"Below LOD",4.1999999999999997E-3,"Below LOD","Below LOD",0.23599999999999999,2.8999999999999998E-3,2.0999999999999999E-3]
[301500,8000,46.7,1,"Output_1_7",14.1,"Below LOD",2.14,92.2,15.8,157,"Below LOD",19.670000000000002,141,1.41E-2,0.51700000000000002,"Below LOD",4.1999999999999997E-3,"Below LOD",2.1999999999999999E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD"]
[302000,16000,46.7,1,"Output_1_8","Below LOD","Below LOD",29.8,73,11.2,12.9,3.5000000000000003E-2,40.799999999999997,10.7,1.22,0.76600000000000001,0.48,0.08,2.02,0.67400000000000004,0.38300000000000001,0.27500000000000002,0.28299999999999997,1.6500000000000001E-2,0.185,1.05,0.51,0.108]
[406000,18000,46.7,1,"Output_1_9","Below LOD","Below LOD",37.6,61,13.3,8.9,7.6999999999999999E-2,23.1,17.7,"Below LOD",0.79700000000000004,0.41,0.52,0.62,2.1100000000000001E-2,7.7999999999999996E-3,7.3000000000000001E-3,8.0000000000000002E-3,1.5299999999999999E-3,4.3E-3,8.5000000000000006E-2,1.6500000000000001E-2,7.1999999999999998E-3]
[279100,9200,46.7,1,"Output_1_10","Below LOD","Below LOD",6.8,28.8,16.3,12.4,"Below LOD",19.14,3.2,"Below LOD",0.92500000000000004,0.214,3.2000000000000002E-3,0.112,5.4000000000000003E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",1.52E-2,7.0000000000000001E-3,1.2700000000000001E-3]
[285000,7800,46.7,1,"Output_1_11",2.6,"Below LOD",1.04,44.4,16.600000000000001,57.8,0.17,22.74,38.700000000000003,"Below LOD",0.89,"Below LOD","Below LOD","Below LOD",8.6E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",1.5699999999999999E-2,6.0000000000000001E-3,2.8999999999999998E-3]

{"sheet":"20170412_TE_QZ_All_Integrations","index":1,"n_rows":29,"n_cols":60,"rows_kept":29,"cut":false,"hidden":false,"merged":[]}
["Analytical info",{"$nulls":9},"Internal Standard",null,null,null,"Element concentrations in ppm"]
[{"$nulls":10},"Si","INT_2SE",null,null,"Li","INT_2SE","Na","INT_2SE","Mg","INT_2SE","Al","INT_2SE","P","INT_2SE","Ti","INT_2SE","V","INT_2SE","Cr","INT_2SE","Fe","INT_2SE","Ga","INT_2SE","Ge","INT_2SE","Sr","INT_2SE","Nb","INT_2SE","Ba","INT_2SE","La","INT_2SE","Sm","INT_2SE","Gd","INT_2SE","Dy","INT_2SE","Lu","INT_2SE","Hf","INT_2SE","Pb","INT_2SE","Th","INT_2SE","U","INT_2SE"]
[null,"Source file","DateTime","Date","Time","Duration(s)","Comments","Total points","Selection type","Components","Si29_CPS","Si29_CPS_Int2SE","IntStdWv","IntStdWv_Int2SE","Li_ppm_m7","Li_ppm_m7_Int2SE","Na_ppm_m23","Na_ppm_m23_Int2SE","Mg_ppm_m24","Mg_ppm_m24_Int2SE","Al_ppm_m27","Al_ppm_m27_Int2SE","P_ppm_m31","P_ppm_m31_Int2SE","Ti_ppm_m47","Ti_ppm_m47_Int2SE","V_ppm_m51","V_ppm_m51_Int2SE","Cr_ppm_m52","Cr_ppm_m52_Int2SE","Fe_ppm_m56","Fe_ppm_m56_Int2SE","Ga_ppm_m71","Ga_ppm_m71_Int2SE","Ge_ppm_m72","Ge_ppm_m72_Int2SE","Sr_ppm_m88","Sr_ppm_m88_Int2SE","Nb_ppm_m93","Nb_ppm_m93_Int2SE","Ba_ppm_m137","Ba_ppm_m137_Int2SE","La_ppm_m139","La_ppm_m139_Int2SE","Sm_ppm_m147","Sm_ppm_m147_Int2SE","Gd_ppm_m157","Gd_ppm_m157_Int2SE","Dy_ppm_m163","Dy_ppm_m163_Int2SE","Lu_ppm_m175","Lu_ppm_m175_Int2SE","Hf_ppm_m178","Hf_ppm_m178_Int2SE","Pb_ppm_m208","Pb_ppm_m208_Int2SE","Th_ppm_m232","Th_ppm_m232_Int2SE","U_ppm_m238","U_ppm_m238_Int2SE"]
["G_NIST612_1","Sequence","12/04/2017 (4) 17:50:04.41","12/04/2017 (4)","17:50:04.410",24.274000000000001,"NIST612-1",87,"Normal",1,295600,5000,33.6,1,42.7,1.9,104000,1500,78.430000000000007,0.85,11190,130,50.6,1.5,43.32,0.63,38.479999999999997,0.47,35.729999999999997,0.62,49.65,0.72,35.56,0.53,34.68,0.49,77.599999999999994,1.1000000000000001,39.67,0.54,38.619999999999997,0.54,34.93,0.47,37.92,0.48,36.28,0.43,35.76,0.43,36.85,0.45,34.54,0.51,38.119999999999997,0.56999999999999995,38.380000000000003,0.59,37.130000000000003,0.59]
["G_NIST612_2","Sequence","12/04/2017 (4) 17:50:59.65","12/04/2017 (4)","17:50:59.650",26.748000000000001,"NIST612-2",96,"Normal",1,293900,4800,33.6,1,40.799999999999997,1.7,103600,1300,78.19,0.77,11230,120,52.3,1.4,44.27,0.48,38.99,0.43,36.89,0.6,51.63,0.74,35.93,0.5,34.92,0.52,79,1.1000000000000001,40.409999999999997,0.56999999999999995,39.86,0.6,35.590000000000003,0.5,38.6,0.5,37,0.46,36.520000000000003,0.43,37.700000000000003,0.51,35.229999999999997,0.52,38.67,0.56000000000000005,38.99,0.56000000000000005,37.590000000000003,0.56999999999999995]
["G_NIST612_3","Sequence","12/04/2017 (4) 17:53:03.45","12/04/2017 (4)","17:53:03.450",24.704000000000001,"NIST612-3",89,"Normal",1,294300,4800,33.6,1,42.7,2.1,103100,1700,77.67,0.94,10950,150,52,1.6,44.11,0.51,39.25,0.43,35.619999999999997,0.57999999999999996,51.2,0.67,36,0.49,35.19,0.5,79.5,1.1000000000000001,40.53,0.53,39.82,0.56999999999999995,35.42,0.46,38.26,0.49,36.56,0.45,36.299999999999997,0.49,37.49,0.5,35.06,0.51,38.880000000000003,0.55000000000000004,38.92,0.55000000000000004,37.97,0.62]
["G_NIST612_4","Sequence","12/04/2017 (4) 17:54:01.93","12/04/2017 (4)","17:54:01.930",25.818000000000001,"NIST612-4",93,"Normal",1,298900,5800,33.6,1,42.6,2,104000,1800,76.73,0.86,10950,140,50.2,1.4,44.4,0.6,39.15,0.47,36.17,0.64,51.95,0.77,36.020000000000003,0.53,35.36,0.55000000000000004,78.900000000000006,1.1000000000000001,40.35,0.56000000000000005,39.58,0.6,35.15,0.44,38.26,0.47,36.590000000000003,0.47,36.28,0.44,37.39,0.46,34.840000000000003,0.49,38.36,0.56999999999999995,38.729999999999997,0.55000000000000004,37.71,0.54]
["G_NIST612_5","Sequence","12/04/2017 (4) 18:05:36.87","12/04/2017 (4)","18:05:36.870",26.678000000000001,"NIST612-5",95,"Normal",1,298300,5900,33.6,1,42.2,1.9,104200,2100,78.3,1.2,11150,180,51.6,1.7,44.41,0.77,39.909999999999997,0.75,36.130000000000003,0.69,52.1,1.1000000000000001,36.200000000000003,0.66,35.56,0.69,79.7,1.5,40.67,0.72,40.07,0.81,35.4,0.63,38.340000000000003,0.65,36.56,0.61,36.08,0.63,37.39,0.68,34.97,0.59,39.35,0.79,38.950000000000003,0.73,38.06,0.79]
["G_NIST612_6","Sequence","12/04/2017 (4) 18:06:50.98","12/04/2017 (4)","18:06:50.980",23.638000000000002,"NIST612-6",85,"Normal",1,309100,5500,33.6,1,41.1,1.9,102300,1800,76.760000000000005,0.98,11080,170,50.8,1.5,44.3,0.61,38.549999999999997,0.49,35.65,0.57999999999999996,49.79,0.65,35.549999999999997,0.55000000000000004,34.61,0.57999999999999996,77.400000000000006,1.1000000000000001,39.729999999999997,0.56000000000000005,38.82,0.61,35.01,0.52,37.840000000000003,0.59,36.24,0.52,35.75,0.5,37.15,0.52,34.6,0.5,37.75,0.54,38.409999999999997,0.59,36.99,0.63]
["G_NIST612_7","Sequence","12/04/2017 (4) 18:14:36.14","12/04/2017 (4)","18:14:36.140",24.684000000000001,"NIST612-7",89,"Normal",1,302200,5600,33.6,1,42.7,2.2000000000000002,105100,2700,79,1.4,11070,160,50.9,1.5,43.82,0.74,39.31,0.73,36.36,0.74,51.02,0.97,36.049999999999997,0.6,35.4,0.66,79.5,1.4,40.26,0.72,40.119999999999997,0.87,35.14,0.57999999999999996,38.24,0.68,36.479999999999997,0.56999999999999995,36.04,0.66,37.090000000000003,0.62,34.78,0.6,39.5,0.86,38.869999999999997,0.77,38.19,0.93]
["G_NIST612_8","Sequence","12/04/2017 (4) 18:15:34.18","12/04/2017 (4)","18:15:34.180",24.631,"NIST612-8",89,"Normal",1,308800,5500,33.6,1,41.9,2.1,103700,1900,78.099999999999994,1.3,11180,160,51.8,1.5,43.94,0.67,38.69,0.62,36.18,0.68,51.8,1,35.69,0.64,34.64,0.6,78.400000000000006,1.3,40.28,0.62,39.020000000000003,0.67,35.340000000000003,0.59,38.409999999999997,0.57999999999999996,36.81,0.51,36.54,0.53,37.549999999999997,0.52,35.06,0.5,38.229999999999997,0.63,39.01,0.64,37.409999999999997,0.66]
[]
["G_NIST614_1","Sequence","12/04/2017 (4) 17:55:00.28","12/04/2017 (4)","17:55:00.280",25.39,"NIST614-1",91,"Normal",1,286100,6200,33.6,1,2.1800000000000002,0.74,103600,1800,38.56,0.53,10880,140,20.8,1.7,3.19,0.14000000000000001,1.024,2.1999999999999999E-2,7.31,0.41,11.91,0.35,1.103,2.4E-2,0.94699999999999995,5.1999999999999998E-2,46.41,0.59,0.83899999999999997,1.4E-2,3.2589999999999999,8.1000000000000003E-2,0.69399999999999995,1.2999999999999999E-2,0.79400000000000004,0.02,0.74299999999999999,0.02,0.747,2.5999999999999999E-2,0.73599999999999999,1.4999999999999999E-2,0.67600000000000005,0.02,2.2650000000000001,4.4999999999999998E-2,0.77800000000000002,1.7999999999999999E-2,0.84799999999999998,2.1000000000000001E-2]
["G_NIST614_2","Sequence","12/04/2017 (4) 17:55:56.56","12/04/2017 (4)","17:55:56.560",27.199000000000002,"NIST614-2",97,"Normal",1,278200,4900,33.6,1,"Below LOD","Below LOD",100500,1400,38.24,0.49,10880,140,21.8,1.3,3.3,0.13,1.0109999999999999,0.02,7.4,0.38,11.21,0.35,1.121,2.5000000000000001E-2,0.95599999999999996,5.2999999999999999E-2,46.76,0.68,0.84199999999999997,1.4E-2,3.258,8.2000000000000003E-2,0.70899999999999996,1.2999999999999999E-2,0.77300000000000002,1.9E-2,0.746,2.3E-2,0.77100000000000002,2.3E-2,0.752,1.4999999999999999E-2,0.69,2.1000000000000001E-2,2.274,4.2000000000000003E-2,0.79400000000000004,2.1000000000000001E-2,0.82399999999999995,1.7000000000000001E-2]
["G_NIST614_3","Sequence","12/04/2017 (4) 18:03:42.37","12/04/2017 (4)","18:03:42.370",25.013999999999999,"NIST614-3",89,"Normal",1,293400,6600,33.6,1,2.91,0.64,102800,1700,39.020000000000003,0.61,10960,150,21.6,1.3,3.31,0.15,1.028,2.1000000000000001E-2,5.94,0.39,13.15,0.36,1.0880000000000001,2.8000000000000001E-2,0.91900000000000004,0.05,45.92,0.67,0.83299999999999996,1.7000000000000001E-2,3.1160000000000001,9.1999999999999998E-2,0.68600000000000005,1.6E-2,0.754,2.1000000000000001E-2,0.71899999999999997,1.7999999999999999E-2,0.755,2.1000000000000001E-2,0.72699999999999998,1.4999999999999999E-2,0.68,1.9E-2,2.2589999999999999,4.7E-2,0.76800000000000002,1.7000000000000001E-2,0.82899999999999996,0.02]
["G_NIST614_4","Sequence","12/04/2017 (4) 18:04:39.10","12/04/2017 (4)","18:04:39.100",26.315000000000001,"NIST614-4",95,"Normal",1,283800,5700,33.6,1,"Below LOD","Below LOD",103800,1800,39.36,0.5,11260,130,21.8,1.3,3.23,0.13,1.0169999999999999,2.1000000000000001E-2,6.91,0.35,11.28,0.33,1.1259999999999999,0.03,0.98899999999999999,5.5E-2,46.83,0.75,0.84299999999999997,1.7000000000000001E-2,3.2280000000000002,9.5000000000000001E-2,0.70199999999999996,1.2999999999999999E-2,0.78500000000000003,2.1999999999999999E-2,0.76800000000000002,0.02,0.76400000000000001,2.1000000000000001E-2,0.749,1.2E-2,0.70499999999999996,2.1000000000000001E-2,2.3069999999999999,4.8000000000000001E-2,0.78800000000000003,2.1000000000000001E-2,0.82899999999999996,0.02]
["G_NIST614_5","Sequence","12/04/2017 (4) 18:13:37.52","12/04/2017 (4)","18:13:37.520",25.771999999999998,"NIST614-5",92,"Normal",1,289300,6500,33.6,1,1.79,0.72,104500,1800,40.18,0.6,11140,150,22.3,1.5,3.21,0.15,1.0429999999999999,2.3E-2,6.05,0.39,12.06,0.34,1.1319999999999999,2.5999999999999999E-2,1.0760000000000001,5.1999999999999998E-2,46.35,0.83,0.84399999999999997,1.7999999999999999E-2,3.218,9.5000000000000001E-2,0.71099999999999997,1.4999999999999999E-2,0.77400000000000002,2.4E-2,0.72699999999999998,2.1999999999999999E-2,0.74099999999999999,2.4E-2,0.73599999999999999,1.7000000000000001E-2,0.68100000000000005,2.1999999999999999E-2,2.339,4.9000000000000002E-2,0.78200000000000003,2.1000000000000001E-2,0.84199999999999997,2.1000000000000001E-2]
[]
["Output_1_1","Sequence","12/04/2017 (4) 17:56:57.91","12/04/2017 (4)","17:56:57.910",24.873000000000001,"13031_Tyk1",89,"Normal",1,281700,5400,46.7,1,"Below LOD","Below LOD","Below LOD","Below LOD",0.44,0.27,24.7,6.3,17.7,2,23.3,6.1,"Below LOD","Below LOD",27.6,1,"Below LOD","Below LOD","Below LOD","Below LOD",0.89400000000000002,7.0000000000000007E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",4.7000000000000002E-3,2.0999999999999999E-3,"Below LOD","Below LOD","Below LOD","Below LOD"]
["Output_1_2","Sequence","12/04/2017 (4) 17:57:57.90","12/04/2017 (4)","17:57:57.900",22.2,"13031_Tyk2",80,"Normal",1,325600,5900,46.7,1,"Below LOD","Below LOD","Below LOD","Below LOD",2,2,"Below LOD","Below LOD",14.4,1.8,2.5099999999999998,0.28999999999999998,"Below LOD","Below LOD",15.3,1,"Below LOD","Below LOD","Below LOD","Below LOD",0.73299999999999998,5.5E-2,2.8799999999999999E-2,6.3E-3,"Below LOD","Below LOD",3.9E-2,1.2999999999999999E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD"]
["Output_1_3","Sequence","12/04/2017 (4) 17:58:53.29","12/04/2017 (4)","17:58:53.290",21.875,"13031_Tyk3",79,"Normal",1,316000,8600,46.7,1,2.19,0.96,"Below LOD","Below LOD",6.18,0.81,244,34,16.2,2,52.7,2.4,"Below LOD","Below LOD",13.84,0.65,47.5,6.7,4.65E-2,8.6E-3,0.92700000000000005,8.5000000000000006E-2,0.33200000000000002,2.1000000000000001E-2,5.5999999999999999E-3,1.6999999999999999E-3,1.6,0.17,3.5000000000000003E-2,1.4999999999999999E-2,5.8999999999999999E-3,2.3999999999999998E-3,4.4999999999999997E-3,1.9E-3,3.2000000000000002E-3,2E-3,"Below LOD","Below LOD","Below LOD","Below LOD",0.153,1.4999999999999999E-2,1.7700000000000001E-3,9.3999999999999997E-4,"Below LOD","Below LOD"]
["Output_1_4","Sequence","12/04/2017 (4) 17:59:49.84","12/04/2017 (4)","17:59:49.840",24.603999999999999,"13031_Tyk4",88,"Normal",1,320800,8000,46.7,1,6.6,1.2,"Below LOD","Below LOD",0.86,0.16,187,13,14.5,1.7,104.7,2.2999999999999998,"Below LOD","Below LOD",11.42,0.59,11,1.2,2.9100000000000001E-2,6.6E-3,0.70799999999999996,5.6000000000000001E-2,5.67E-2,7.7000000000000002E-3,2.0200000000000001E-3,8.4999999999999995E-4,3.7999999999999999E-2,1.4E-2,9.8000000000000004E-2,2.4E-2,9.2999999999999992E-3,4.3E-3,1.17E-2,4.4000000000000003E-3,1.2800000000000001E-2,4.7999999999999996E-3,9.5E-4,5.1000000000000004E-4,"Below LOD","Below LOD",0.115,1.2E-2,8.5000000000000006E-3,2.3E-3,4.1000000000000003E-3,1.2999999999999999E-3]
["Output_1_5","Sequence","12/04/2017 (4) 18:00:49.84","12/04/2017 (4)","18:00:49.840",12.172000000000001,"13031_Tyk5",44,"Normal",1,310000,23000,46.7,1,3.7,1.3,"Below LOD","Below LOD",10.4,1.7,166,18,11.6,3.1,144,13,"Below LOD","Below LOD",32.200000000000003,5.5,43.7,7.8,2.1999999999999999E-2,1.0999999999999999E-2,1.107,9.5000000000000001E-2,0.35,4.5999999999999999E-2,3.8999999999999998E-3,1.6999999999999999E-3,0.45200000000000001,6.6000000000000003E-2,5.5899999999999998E-2,9.4000000000000004E-3,6.6E-3,3.5999999999999999E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",3.8,1.1000000000000001,1.2200000000000001E-2,4.7000000000000002E-3,6.0000000000000001E-3,2.0999999999999999E-3]
["Output_1_6","Sequence","12/04/2017 (4) 18:01:44.80","12/04/2017 (4)","18:01:44.800",11.303000000000001,"13031_Tyk6",40,"Normal",1,330000,10000,46.7,1,5.9,1.6,"Below LOD","Below LOD",11.3,2.4,475,37,15.7,2.4,8.6999999999999993,1.4,0.161,3.5999999999999997E-2,13.44,0.76,32.5,6.5,1.5100000000000001E-2,6.3E-3,1.3140000000000001,9.4E-2,3.39,0.17,3.4700000000000002E-2,9.7999999999999997E-3,1.79,0.14000000000000001,4.2999999999999997E-2,1.0999999999999999E-2,9.2999999999999992E-3,3.5000000000000001E-3,"Below LOD","Below LOD",4.1999999999999997E-3,2.8E-3,"Below LOD","Below LOD","Below LOD","Below LOD",0.23599999999999999,2.1000000000000001E-2,2.8999999999999998E-3,3.5999999999999999E-3,2.0999999999999999E-3,1.2999999999999999E-3]
["Output_1_7","Sequence","12/04/2017 (4) 18:07:50.97","12/04/2017 (4)","18:07:50.970",23.885999999999999,"15064_Tyk1",86,"Normal",1,301500,8000,46.7,1,14.1,1.5,"Below LOD","Below LOD",2.14,0.2,92.2,8,15.8,1.9,157,15,"Below LOD","Below LOD",19.670000000000002,0.9,141,31,1.41E-2,6.0000000000000001E-3,0.51700000000000002,5.6000000000000001E-2,"Below LOD","Below LOD",4.1999999999999997E-3,1.4E-3,"Below LOD","Below LOD",2.1999999999999999E-2,0.01,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD"]
["Output_1_8","Sequence","12/04/2017 (4) 18:09:46.15","12/04/2017 (4)","18:09:46.150",19.78,"15064_Tyk3",71,"Normal",1,302000,16000,46.7,1,"Below LOD","Below LOD","Below LOD","Below LOD",29.8,5.5,73,15,11.2,2.2999999999999998,12.9,4.8,3.5000000000000003E-2,1.2999999999999999E-2,40.799999999999997,4.7,10.7,2.4,1.22,0.16,0.76600000000000001,0.08,0.48,9.1999999999999998E-2,0.08,1.7999999999999999E-2,2.02,0.24,0.67400000000000004,6.9000000000000006E-2,0.38300000000000001,4.2999999999999997E-2,0.27500000000000002,2.7E-2,0.28299999999999997,3.1E-2,1.6500000000000001E-2,2.5000000000000001E-3,0.185,2.5000000000000001E-2,1.05,0.19,0.51,0.04,0.108,1.6E-2]
["Output_1_9","Sequence","12/04/2017 (4) 18:10:41.55","12/04/2017 (4)","18:10:41.550",9.3628999999999998,"15064_Tyk4",34,"Normal",1,406000,18000,46.7,1,"Below LOD","Below LOD","Below LOD","Below LOD",37.6,8.5,61,17,13.3,2.1,8.9,3.7,7.6999999999999999E-2,3.5999999999999997E-2,23.1,1.4,17.7,3.8,"Below LOD","Below LOD",0.79700000000000004,7.6999999999999999E-2,0.41,0.14000000000000001,0.52,0.38,0.62,0.17,2.1100000000000001E-2,6.0000000000000001E-3,7.7999999999999996E-3,4.1999999999999997E-3,7.3000000000000001E-3,3.8999999999999998E-3,8.0000000000000002E-3,4.5999999999999999E-3,1.5299999999999999E-3,8.8000000000000003E-4,4.3E-3,3.0999999999999999E-3,8.5000000000000006E-2,1.4999999999999999E-2,1.6500000000000001E-2,5.7000000000000002E-3,7.1999999999999998E-3,3.5000000000000001E-3]
["Output_1_10","Sequence","12/04/2017 (4) 18:11:39.73","12/04/2017 (4)","18:11:39.730",23.064,"15064_Tyk5",83,"Normal",1,279100,9200,46.7,1,"Below LOD","Below LOD","Below LOD","Below LOD",6.8,1.9,28.8,7.3,16.3,2,12.4,2.1,"Below LOD","Below LOD",19.14,0.88,3.2,1.2,"Below LOD","Below LOD",0.92500000000000004,8.5999999999999993E-2,0.214,3.6999999999999998E-2,3.2000000000000002E-3,1.6000000000000001E-3,0.112,3.5000000000000003E-2,5.4000000000000003E-3,2.0999999999999999E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",1.52E-2,6.1000000000000004E-3,7.0000000000000001E-3,2.3999999999999998E-3,1.2700000000000001E-3,8.9999999999999998E-4]
["Output_1_11","Sequence","12/04/2017 (4) 18:12:40.29","12/04/2017 (4)","18:12:40.290",22.363,"15064_Tyk6",81,"Normal",1,285000,7800,46.7,1,2.6,1.1000000000000001,"Below LOD","Below LOD",1.04,0.42,44.4,9.6999999999999993,16.600000000000001,2,57.8,1.4,0.17,0.04,22.74,0.93,38.700000000000003,3.8,"Below LOD","Below LOD",0.89,7.5999999999999998E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",8.6E-3,1.6999999999999999E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",1.5699999999999999E-2,4.0000000000000001E-3,6.0000000000000001E-3,1.6999999999999999E-3,2.8999999999999998E-3,1.1999999999999999E-3]