{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["GCDkid_data_setup_Ti49_Cr53","GCDkid_data_setup_Ti47_Cr52","20170420_S3_All_Integrations"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"GCDkid_data_setup_Ti49_Cr53","index":0,"n_rows":59,"n_cols":28,"rows_kept":59,"cut":false,"hidden":false,"merged":[]}
["Internal standard"]
["Si","INT_2SE",{"$nulls":7},"M49","M53"]
["Si29_CPS","Si29_CPS_Int2SE","IntStdWv","IntStdWv_Int2SE",null,"Li","Mg","Al","P","Ti","Cr","Mn","Fe","Cu","Ge","Sr","Nb","Rh","Ag","Ba","La","Nd","Dy","Yb","Au","Pb","Th","U"]
[691000,25000,33.6,1,"G_NIST612_1",41.7,76.7,11210,50.6,44,36.1,38.1,50.8,36.9,35.1,78.5,40,0.89300000000000002,22.08,40.200000000000003,36.4,36.799999999999997,37.200000000000003,40.299999999999997,5.19,38.799999999999997,38.6,37.299999999999997]
[693000,25000,33.6,1,"G_NIST612_2",42.5,77.3,11320,52.6,45,36.9,38.6,51.6,37.299999999999997,35.42,79.2,40.44,0.91,22.31,40.6,36.9,37.1,37.700000000000003,40.700000000000003,5.13,38.9,38.479999999999997,37.299999999999997]
[728000,25000,33.6,1,"G_NIST612_3",42,77,11130,51.2,43.6,35.619999999999997,37.92,50.7,37.090000000000003,34.99,79.2,40.56,0.89700000000000002,21.95,39.369999999999997,35.729999999999997,35.82,35.76,39.1,5.16,38.6,38.26,38.049999999999997]
[730000,28000,33.6,1,"G_NIST612_4",41.7,76.099999999999994,11100,51.9,44,35.9,37.799999999999997,51.4,36.74,34.74,77.7,39.5,0.89600000000000002,21.82,39.5,35.729999999999997,35.76,35.71,38.58,5.0199999999999996,37.96,37.229999999999997,36.770000000000003]
[717000,28000,33.6,1,"G_NIST612_5",41.4,77.2,11140,50.1,43.87,35.56,37.659999999999997,50.5,36.729999999999997,34.71,77.400000000000006,39.43,0.89600000000000002,21.83,39.200000000000003,35.5,35.6,35.4,38.299999999999997,4.97,37.9,37,36.9]
[712000,27000,33.6,1,"G_NIST612_6",43,77,11180,50.3,44.28,36,38.200000000000003,51.5,36.99,35.159999999999997,77.7,39.31,0.89800000000000002,21.98,40,35.799999999999997,36,35.9,39.200000000000003,5.15,39.06,37.67,37.5]
[688000,20000,33.6,1,"G_NIST612_7",41.4,77,11010,49.3,44.12,36.61,38.1,51.4,37.4,35.6,78.5,39.700000000000003,0.9,22.1,39.200000000000003,35.200000000000003,35.24,35.04,38.26,5.16,38.799999999999997,37,38]
[668000,24000,33.6,1,"G_NIST612_8",43.1,76.900000000000006,10990,52.6,44,37.4,38.799999999999997,53.2,38.299999999999997,36.1,78.900000000000006,39.549999999999997,0.90600000000000003,22.17,40,35.299999999999997,36.200000000000003,35.700000000000003,39,5.27,39.299999999999997,37.340000000000003,38.01]
[681000,22000,33.6,1,"G_NIST612_9",42.1,77.099999999999994,11160,51.1,43.4,35.6,36.799999999999997,49.4,36.299999999999997,34.700000000000003,77.099999999999994,39.409999999999997,0.91,22.36,39.799999999999997,35.700000000000003,35.700000000000003,35.299999999999997,38.1,5.0199999999999996,38.1,37.03,37.299999999999997]
[668000,21000,33.6,1,"G_NIST612_10",41.8,76.8,11300,50.7,43.8,35.200000000000003,37.700000000000003,50.7,37.1,34.9,79,40.53,0.90100000000000002,21.81,39.200000000000003,36.200000000000003,36,36.5,39.700000000000003,5.08,38.17,38.28,37.33]
[648000,20000,33.6,1,"G_NIST612_11",41.2,77,11280,51.4,44.5,36.1,38.6,51,36.700000000000003,34.89,79.099999999999994,40.46,0.88800000000000001,22,39.9,36.700000000000003,36.9,37.4,40.4,5.1100000000000003,38.65,38.549999999999997,37]
[{"$nulls":5},"Li","Mg","Al","P","Ti","Cr","Mn","Fe","Cu","Ge","Sr","Nb","Rh","Ag","Ba","La","Nd","Dy","Yb","Au","Pb","Th","U"]
[689000,32000,33.6,1,"G_NIST614_1",2.19,39.4,11260,19.84,3.07,1.37,0.85799999999999998,12.92,1.2829999999999999,0.96399999999999997,47.4,0.86499999999999999,1.5549999999999999,0.40899999999999997,3.26,0.746,0.77900000000000003,0.79700000000000004,0.80600000000000005,0.53400000000000003,2.1989999999999998,0.77400000000000002,0.83099999999999996]
[676000,19000,33.6,1,"G_NIST614_2",1.85,39.14,11170,19.36,3.02,1.32,0.871,12.11,1.2090000000000001,0.95499999999999996,46.3,0.85099999999999998,1.524,0.41099999999999998,3.24,0.73,0.78,0.78,0.78600000000000003,0.52,2.1829999999999998,0.76400000000000001,0.81200000000000006]
[656000,25000,33.6,1,"G_NIST614_3",1.31,39.28,11090,20.47,3.08,1.63,0.999,12.85,1.2809999999999999,0.91400000000000003,46.6,0.83699999999999997,1.546,0.41599999999999998,3.29,0.70299999999999996,0.76,0.76200000000000001,0.75800000000000001,0.53900000000000003,2.25,0.747,0.81499999999999995]
[633000,27000,33.6,1,"G_NIST614_4",1.28,38.5,11170,20.6,3.24,1.53,0.78800000000000003,12.64,1.2889999999999999,0.94899999999999995,46.8,0.84599999999999997,1.6180000000000001,0.42899999999999999,3.28,0.72,0.76800000000000002,0.78400000000000003,0.76600000000000001,0.54500000000000004,2.2839999999999998,0.76900000000000002,0.82699999999999996]
[657000,36000,33.6,1,"G_NIST614_5",1.79,38.700000000000003,10980,18.46,3.03,1.4,0.88,12.03,1.226,0.95499999999999996,45.7,0.83299999999999996,1.631,0.4,3.3,0.72299999999999998,0.76200000000000001,0.72099999999999997,0.72599999999999998,0.53300000000000003,2.2109999999999999,0.72399999999999998,0.83699999999999997]
[627000,30000,33.6,1,"G_NIST614_6",2.12,39.1,11140,20.5,3.02,1.81,1.008,12.98,1.304,0.97099999999999997,46.4,0.82899999999999996,1.554,0.4,3.25,0.72299999999999998,0.76600000000000001,0.752,0.745,0.52400000000000002,2.16,0.753,0.82599999999999996]
[{"$nulls":5},"Li","Mg","Al","P","Ti","Cr","Mn","Fe","Cu","Ge","Sr","Nb","Rh","Ag","Ba","La","Nd","Dy","Yb","Au","Pb","Th","U"]
[-100,1600,47.6,1,"No_Si_signal_1","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value"]
[2000,2100,47.6,1,"No_Si_signal_2","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value"]
[6200,3800,47.6,1,"No_Si_signal_3","Below LOD",40000,14600,460,1100,2700,74,1400,35,"Below LOD",117,0.06,"Below LOD","Below LOD",47,5.6,5,2.2000000000000002,0.18,"Below LOD",1.8,0.32,0.1]
[{"$nulls":5},"Li","Mg","Al","P","Ti","Cr","Mn","Fe","Cu","Ge","Sr","Nb","Rh","Ag","Ba","La","Nd","Dy","Yb","Au","Pb","Th","U"]
[668000,26000,47.6,1,"Output_1_1",4.12,32.1,94,13,20.32,3.47,"Below LOD",9.3000000000000007,0.121,1.0680000000000001,0.154,7.7999999999999999E-4,"Below LOD","Below LOD",0.13400000000000001,2.8600000000000001E-3,"Below LOD","Below LOD","Below LOD","Below LOD",3.27E-2,"Below LOD",1.1299999999999999E-3]
[623000,18000,47.6,1,"Output_1_2","Below LOD",0.62,15.3,16.3,16.63,2.25,"Below LOD","Below LOD","Below LOD",0.91900000000000004,1.6400000000000001E-2,"Below LOD","Below LOD",5.7000000000000002E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",3.8999999999999998E-3,0.09,"Below LOD"]
[789000,35000,47.6,1,"Output_1_3",4.07,1.1200000000000001,21.9,10.76,17.68,1.69,"Below LOD","Below LOD",5.8000000000000003E-2,0.76600000000000001,3.2099999999999997E-2,"Below LOD","Below LOD","Below LOD",2.1700000000000001E-2,"Below LOD",1.6000000000000001E-3,"Below LOD","Below LOD","Below LOD",6.7000000000000002E-3,1.9E-3,"Below LOD"]
[670000,23000,47.6,1,"Output_1_4","Below LOD","Below LOD",10.7,14.5,19.420000000000002,1.67,"Below LOD","Below LOD","Below LOD",0.71799999999999997,2.24E-2,"Below LOD","Below LOD","Below LOD",1.5100000000000001E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",3.48E-3,"Below LOD","Below LOD"]
[694000,12000,47.6,1,"Output_1_5","Below LOD",47,85,12.7,11.22,1.9,"Below LOD",6.3,0.105,1.0649999999999999,0.223,1.15E-3,"Below LOD","Below LOD",0.185,5.7999999999999996E-3,6.1999999999999998E-3,"Below LOD","Below LOD","Below LOD",2.8000000000000001E-2,3.8999999999999998E-3,"Below LOD"]
[619000,18000,47.6,1,"Output_1_6",2.72,5.8,25.2,15.7,14.42,2.41,"Below LOD","Below LOD","Below LOD",0.78800000000000003,5.7000000000000002E-2,"Below LOD","Below LOD","Below LOD",3.2000000000000001E-2,1.4E-3,"Below LOD","Below LOD","Below LOD","Below LOD",6.7999999999999996E-3,1.1000000000000001E-3,"Below LOD"]
[721000,40000,47.6,1,"Output_1_7",1.66,12.9,29.7,11.7,14.8,3.94,"Below LOD",2.1,"Below LOD",0.67800000000000005,9.6000000000000002E-2,"Below LOD","Below LOD","Below LOD",5.3999999999999999E-2,1.83E-3,2.8E-3,"Below LOD","Below LOD",3.5000000000000001E-3,4.5999999999999999E-3,1.92E-3,"Below LOD"]
[593000,92000,47.6,1,"Output_1_8",4,61,78,16,83,20.100000000000001,0.82,52,0.318,0.77500000000000002,0.28999999999999998,7.1999999999999998E-3,"Below LOD",8.0000000000000002E-3,0.27,0.01,1.24E-2,"Below LOD","Below LOD","Below LOD",8.2000000000000003E-2,1.54E-2,1.2199999999999999E-3]
[641000,59000,47.6,1,"Output_1_9","Below LOD",45.8,102,12.5,16.2,8.3000000000000007,0.41,26,9.6000000000000002E-2,1.85,0.32900000000000001,4.7000000000000002E-3,"Below LOD","Below LOD",0.26900000000000002,1.7600000000000001E-2,1.7399999999999999E-2,4.1000000000000003E-3,3.5000000000000001E-3,"Below LOD",1.21E-2,0.9,1.6000000000000001E-3]
[637000,21000,47.6,1,"Output_1_10",2.9,"Below LOD",19.2,14.3,21.59,2.2799999999999998,"Below LOD","Below LOD","Below LOD",0.748,2.3900000000000001E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD"]
[656000,43000,47.6,1,"Output_1_11",6.23,3.94,42.2,14,18.21,5.46,"Below LOD","Below LOD",7.0999999999999994E-2,0.72899999999999998,5.8000000000000003E-2,"Below LOD","Below LOD","Below LOD",1.9E-2,1.0399999999999999E-3,"Below LOD","Below LOD","Below LOD","Below LOD",8.6E-3,1.6000000000000001E-3,"Below LOD"]
[687000,20000,47.6,1,"Output_1_12",1.76,0.67,21.1,12.1,25.7,2.12,"Below LOD","Below LOD","Below LOD",0.88800000000000001,2.7699999999999999E-2,"Below LOD","Below LOD","Below LOD","Below LOD",1.64E-3,4.0000000000000001E-3,"Below LOD",2.3E-3,"Below LOD",4.4000000000000003E-3,3.7000000000000002E-3,"Below LOD"]
[613000,18000,47.6,1,"Output_1_13",10.81,0.47899999999999998,78.8,15.8,31.02,2.85,"Below LOD",0.97,"Below LOD",1.369,4.1000000000000002E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",5.4000000000000003E-3,"Below LOD","Below LOD"]
[651000,18000,47.6,1,"Output_1_14",2.2400000000000002,1.22,17.7,14.9,20.32,2.42,"Below LOD","Below LOD","Below LOD",0.69199999999999995,3.5999999999999997E-2,"Below LOD","Below LOD","Below LOD",1.9400000000000001E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD"]
[610000,20000,47.6,1,"Output_1_15","Below LOD",5.5,32,12.2,22.83,3.92,"Below LOD",2.2999999999999998,"Below LOD",0.53900000000000003,0.16,"Below LOD","Below LOD","Below LOD",0.113,5.1999999999999998E-3,8.6999999999999994E-3,"Below LOD","Below LOD","Below LOD",1.6999999999999999E-3,1.1999999999999999E-3,8.8000000000000003E-4]
[558000,70000,47.6,1,"Output_1_16","Below LOD",520,1300,16.8,199,23.2,3.64,127,1.44,0.68100000000000005,9.6,0.215,"Below LOD","Below LOD",6.7,0.86,1.74,0.45500000000000002,0.41299999999999998,"Below LOD",0.122,0.124,0.154]
[555000,62000,47.6,1,"Output_1_17","Below LOD",338,770,16,60,19.7,3.27,310,0.82,0.53800000000000003,4.2699999999999996,2.41E-2,"Below LOD","Below LOD",3.31,0.2,0.26500000000000001,3.0599999999999999E-2,1.8200000000000001E-2,"Below LOD",7.0999999999999994E-2,3.9E-2,1.18E-2]
[585000,27000,47.6,1,"Output_1_18","Below LOD","Below LOD","Below LOD",11.6,10.82,1.76,"Below LOD","Below LOD","Below LOD",0.67100000000000004,0.16400000000000001,"Below LOD","Below LOD","Below LOD",0.32600000000000001,1.25E-3,"Below LOD","Below LOD","Below LOD","Below LOD",2.06E-2,"Below LOD","Below LOD"]
[383000,23000,47.6,1,"Output_1_19","Below LOD",495,2050,14.4,51.5,23.7,9,175,1.53,0.59299999999999997,12.3,1.6299999999999999E-2,"Below LOD","Below LOD",8.6,0.621,0.64,7.9000000000000001E-2,5.2999999999999999E-2,"Below LOD",0.183,8.8999999999999996E-2,4.0800000000000003E-2]
[609000,28000,47.6,1,"Output_1_20","Below LOD",4.8,31,20.5,64,1.79,"Below LOD",2.62,"Below LOD",0.52300000000000002,0.12,0.13300000000000001,"Below LOD","Below LOD",6.8000000000000005E-2,9.7000000000000003E-2,0.29799999999999999,0.04,1.78E-2,6.1000000000000004E-3,1.01E-2,2.5100000000000001E-2,2.01E-2]
[701000,22000,47.6,1,"Output_1_21","Below LOD",33,82,11.9,15.5,2.59,"Below LOD",4.4000000000000004,7.4999999999999997E-2,0.58199999999999996,0.39,6.9000000000000006E-2,"Below LOD","Below LOD",0.64,0.02,3.4000000000000002E-2,5.0000000000000001E-3,3.7000000000000002E-3,"Below LOD",6.1000000000000004E-3,1.0999999999999999E-2,1.6000000000000001E-3]
[565000,16000,47.6,1,"Output_1_22","Below LOD",1.3,"Below LOD",16.3,6.86,2.52,"Below LOD","Below LOD","Below LOD",0.41099999999999998,3.4000000000000002E-2,"Below LOD","Below LOD","Below LOD",1.9E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",2.8E-3,0.6,"Below LOD"]
[589000,19000,47.6,1,"Output_1_23","Below LOD",7.48,132,12.9,20.7,2.4,"Below LOD",31.1,"Below LOD",0.86399999999999999,0.14599999999999999,7.1000000000000004E-3,"Below LOD","Below LOD",1,5.0000000000000001E-3,7.4999999999999997E-3,3.5000000000000001E-3,"Below LOD","Below LOD",3.3000000000000002E-2,6.4999999999999997E-3,1.1000000000000001E-3]
[724000,36000,47.6,1,"Output_1_24","Below LOD",144,340,13,36,4.5,1.32,28.3,0.38,0.309,2.44,6.1000000000000004E-3,"Below LOD","Below LOD",1.71,0.13,0.121,1.9300000000000001E-2,9.4000000000000004E-3,"Below LOD",2.0299999999999999E-2,1.7000000000000001E-2,2.7000000000000001E-3]
[572000,12000,47.6,1,"Output_1_25","Below LOD",3.2,11,18.7,5.43,2.09,"Below LOD","Below LOD","Below LOD",0.61299999999999999,0.1,"Below LOD","Below LOD","Below LOD",3.5000000000000003E-2,"Below LOD",3.8999999999999998E-3,"Below LOD","Below LOD",5.7000000000000002E-3,"Below LOD","Below LOD",4.6000000000000001E-4]
[611000,15000,47.6,1,"Output_1_26",2.33,1.22,12.9,15.6,58.1,2.59,1.88,57,"Below LOD",0.49399999999999999,1.37E-2,9.5999999999999992E-3,"Below LOD","Below LOD",3.7400000000000003E-2,3.5999999999999999E-3,"Below LOD","Below LOD","Below LOD","Below LOD",2.8E-3,"Below LOD",9.3000000000000005E-4]
[856000,47000,47.6,1,"Output_1_27","Below LOD",124,350,13.2,25.4,4,1.39,34,0.95,0.58099999999999996,3,7.1000000000000004E-3,"Below LOD",3.6999999999999998E-2,2.4,0.12,0.14699999999999999,2.8000000000000001E-2,1.12E-2,"Below LOD",7.9000000000000001E-2,3.1E-2,3.3E-3]
[693000,26000,47.6,1,"Output_1_28",1.24,140,340,11.5,20.3,5,1.01,140,0.29199999999999998,0.93799999999999994,1.4,2.0600000000000002E-3,"Below LOD","Below LOD",1.1399999999999999,6.4000000000000001E-2,7.6999999999999999E-2,1.2500000000000001E-2,4.8999999999999998E-3,"Below LOD",2.75E-2,1.0200000000000001E-2,2.64E-3]
[573000,17000,47.6,1,"Output_1_29","Below LOD",0.37,10.1,16.3,28.2,2.08,"Below LOD","Below LOD","Below LOD",0.83799999999999997,1.9E-2,0.32800000000000001,"Below LOD","Below LOD","Below LOD",1.5100000000000001E-3,"Below LOD","Below LOD","Below LOD","Below LOD",5.5999999999999999E-3,"Below LOD","Below LOD"]
[639000,25000,47.6,1,"Output_1_30","Below LOD",2.6,9.5,14.8,1.82,1.8,"Below LOD","Below LOD","Below LOD",0.52100000000000002,4.8000000000000001E-2,"Below LOD","Below LOD","Below LOD",6.4000000000000001E-2,1.4E-3,"Below LOD","Below LOD","Below LOD","Below LOD",5.4999999999999997E-3,"Below LOD","Below LOD"]
[{"$nulls":5},"Li","Mg","Al","P","Ti","Cr","Mn","Fe","Cu","Ge","Sr","Nb","Rh","Ag","Ba","La","Nd","Dy","Yb","Au","Pb","Th","U"]
[570000,140000,47.6,1,"Short_signal_1","Below LOD",227,480,25.9,140,21.7,4.0999999999999996,89,8.1999999999999993,0.76,1.91,2.5000000000000001E-2,"Below LOD",2.1000000000000001E-2,1.27,5.8400000000000001E-2,5.3999999999999999E-2,2.3E-2,"Below LOD",0.06,0.33,5.6000000000000001E-2,9.5999999999999992E-3]
[530000,100000,47.6,1,"Short_signal_2","Below LOD",90,152,18.3,116,11.3,0.57999999999999996,24.8,0.39400000000000002,0.59,0.79,7.6E-3,"Below LOD","Below LOD",0.56999999999999995,1.8100000000000002E-2,1.8700000000000001E-2,"Below LOD","Below LOD","Below LOD",0.10199999999999999,"Below LOD",2.3E-3]

{"sheet":"GCDkid_data_setup_Ti47_Cr52","index":1,"n_rows":59,"n_cols":28,"rows_kept":59,"cut":false,"hidden":false,"merged":[]}
["Internal standard"]
["Si","INT_2SE",{"$nulls":7},"M47","M52"]
["Si29_CPS","Si29_CPS_Int2SE","IntStdWv","IntStdWv_Int2SE",null,"Li","Mg","Al","P","Ti","Cr","Mn","Fe","Cu","Ge","Sr","Nb","Rh","Ag","Ba","La","Nd","Dy","Yb","Au","Pb","Th","U"]
[691000,25000,33.6,1,"G_NIST612_1",41.7,76.7,11210,50.6,44.1,36,38.1,50.8,36.9,35.1,78.5,40,0.89300000000000002,22.08,40.200000000000003,36.4,36.799999999999997,37.200000000000003,40.299999999999997,5.19,38.799999999999997,38.6,37.299999999999997]
[693000,25000,33.6,1,"G_NIST612_2",42.5,77.3,11320,52.6,45.2,36.6,38.6,51.6,37.299999999999997,35.42,79.2,40.44,0.91,22.31,40.6,36.9,37.1,37.700000000000003,40.700000000000003,5.13,38.9,38.479999999999997,37.299999999999997]
[728000,25000,33.6,1,"G_NIST612_3",42,77,11130,51.2,43.61,35.61,37.92,50.7,37.090000000000003,34.99,79.2,40.56,0.89700000000000002,21.95,39.369999999999997,35.729999999999997,35.82,35.76,39.1,5.16,38.6,38.26,38.049999999999997]
[730000,28000,33.6,1,"G_NIST612_4",41.7,76.099999999999994,11100,51.9,44.12,36.1,37.799999999999997,51.4,36.74,34.74,77.7,39.5,0.89600000000000002,21.82,39.5,35.729999999999997,35.76,35.71,38.58,5.0199999999999996,37.96,37.229999999999997,36.770000000000003]
[717000,28000,33.6,1,"G_NIST612_5",41.4,77.2,11140,50.1,43.94,35.799999999999997,37.659999999999997,50.5,36.729999999999997,34.71,77.400000000000006,39.43,0.89600000000000002,21.83,39.200000000000003,35.5,35.6,35.4,38.299999999999997,4.97,37.9,37,36.9]
[712000,27000,33.6,1,"G_NIST612_6",43,77,11180,50.3,43.85,36.15,38.200000000000003,51.5,36.99,35.159999999999997,77.7,39.31,0.89800000000000002,21.98,40,35.799999999999997,36,35.9,39.200000000000003,5.15,39.06,37.67,37.5]
[688000,20000,33.6,1,"G_NIST612_7",41.4,77,11010,49.3,43.94,35.69,38.1,51.4,37.4,35.6,78.5,39.700000000000003,0.9,22.1,39.200000000000003,35.200000000000003,35.24,35.04,38.26,5.16,38.799999999999997,37,38]
[668000,24000,33.6,1,"G_NIST612_8",43.1,76.900000000000006,10990,52.6,44.22,37.1,38.799999999999997,53.2,38.299999999999997,36.1,78.900000000000006,39.549999999999997,0.90600000000000003,22.17,40,35.299999999999997,36.200000000000003,35.700000000000003,39,5.27,39.299999999999997,37.340000000000003,38.01]
[681000,22000,33.6,1,"G_NIST612_9",42.1,77.099999999999994,11160,51.1,43.7,35.6,36.799999999999997,49.4,36.299999999999997,34.700000000000003,77.099999999999994,39.409999999999997,0.91,22.36,39.799999999999997,35.700000000000003,35.700000000000003,35.299999999999997,38.1,5.0199999999999996,38.1,37.03,37.299999999999997]
[668000,21000,33.6,1,"G_NIST612_10",41.8,76.8,11300,50.7,43.68,35.4,37.700000000000003,50.7,37.1,34.9,79,40.53,0.90100000000000002,21.81,39.200000000000003,36.200000000000003,36,36.5,39.700000000000003,5.08,38.17,38.28,37.33]
[648000,20000,33.6,1,"G_NIST612_11",41.2,77,11280,51.4,44.72,36.299999999999997,38.6,51,36.700000000000003,34.89,79.099999999999994,40.46,0.88800000000000001,22,39.9,36.700000000000003,36.9,37.4,40.4,5.1100000000000003,38.65,38.549999999999997,37]
[{"$nulls":5},"Li","Mg","Al","P","Ti","Cr","Mn","Fe","Cu","Ge","Sr","Nb","Rh","Ag","Ba","La","Nd","Dy","Yb","Au","Pb","Th","U"]
[689000,32000,33.6,1,"G_NIST614_1",2.19,39.4,11260,19.84,3.18,7.32,0.85799999999999998,12.92,1.2829999999999999,0.96399999999999997,47.4,0.86499999999999999,1.5549999999999999,0.40899999999999997,3.26,0.746,0.77900000000000003,0.79700000000000004,0.80600000000000005,0.53400000000000003,2.1989999999999998,0.77400000000000002,0.83099999999999996]
[676000,19000,33.6,1,"G_NIST614_2",1.85,39.14,11170,19.36,3.28,7.17,0.871,12.11,1.2090000000000001,0.95499999999999996,46.3,0.85099999999999998,1.524,0.41099999999999998,3.24,0.73,0.78,0.78,0.78600000000000003,0.52,2.1829999999999998,0.76400000000000001,0.81200000000000006]
[656000,25000,33.6,1,"G_NIST614_3",1.31,39.28,11090,20.47,3.21,6.71,0.999,12.85,1.2809999999999999,0.91400000000000003,46.6,0.83699999999999997,1.546,0.41599999999999998,3.29,0.70299999999999996,0.76,0.76200000000000001,0.75800000000000001,0.53900000000000003,2.25,0.747,0.81499999999999995]
[633000,27000,33.6,1,"G_NIST614_4",1.28,38.5,11170,20.6,3.14,7.83,0.78800000000000003,12.64,1.2889999999999999,0.94899999999999995,46.8,0.84599999999999997,1.6180000000000001,0.42899999999999999,3.28,0.72,0.76800000000000002,0.78400000000000003,0.76600000000000001,0.54500000000000004,2.2839999999999998,0.76900000000000002,0.82699999999999996]
[657000,36000,33.6,1,"G_NIST614_5",1.79,38.700000000000003,10980,18.46,3.11,7.06,0.88,12.03,1.226,0.95499999999999996,45.7,0.83299999999999996,1.631,0.4,3.3,0.72299999999999998,0.76200000000000001,0.72099999999999997,0.72599999999999998,0.53300000000000003,2.2109999999999999,0.72399999999999998,0.83699999999999997]
[627000,30000,33.6,1,"G_NIST614_6",2.12,39.1,11140,20.5,3.01,8.14,1.008,12.98,1.304,0.97099999999999997,46.4,0.82899999999999996,1.554,0.4,3.25,0.72299999999999998,0.76600000000000001,0.752,0.745,0.52400000000000002,2.16,0.753,0.82599999999999996]
[{"$nulls":5},"Li","Mg","Al","P","Ti","Cr","Mn","Fe","Cu","Ge","Sr","Nb","Rh","Ag","Ba","La","Nd","Dy","Yb","Au","Pb","Th","U"]
[-100,1600,47.6,1,"No_Si_signal_1","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value"]
[2000,2100,47.6,1,"No_Si_signal_2","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value","no value"]
[6200,3800,47.6,1,"No_Si_signal_3","Below LOD",40000,14600,460,750,2100,74,1400,35,"Below LOD",117,0.06,"Below LOD","Below LOD",47,5.6,5,2.2000000000000002,0.18,"Below LOD",1.8,0.32,0.1]
[{"$nulls":5},"Li","Mg","Al","P","Ti","Cr","Mn","Fe","Cu","Ge","Sr","Nb","Rh","Ag","Ba","La","Nd","Dy","Yb","Au","Pb","Th","U"]
[668000,26000,47.6,1,"Output_1_1",4.12,32.1,94,13,21.42,29.8,"Below LOD",9.3000000000000007,0.121,1.0680000000000001,0.154,7.7999999999999999E-4,"Below LOD","Below LOD",0.13400000000000001,2.8600000000000001E-3,"Below LOD","Below LOD","Below LOD","Below LOD",3.27E-2,"Below LOD",1.1299999999999999E-3]
[623000,18000,47.6,1,"Output_1_2","Below LOD",0.62,15.3,16.3,16.72,20.6,"Below LOD","Below LOD","Below LOD",0.91900000000000004,1.6400000000000001E-2,"Below LOD","Below LOD",5.7000000000000002E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",3.8999999999999998E-3,0.09,"Below LOD"]
[789000,35000,47.6,1,"Output_1_3",4.07,1.1200000000000001,21.9,10.76,18.190000000000001,15.8,"Below LOD","Below LOD",5.8000000000000003E-2,0.76600000000000001,3.2099999999999997E-2,"Below LOD","Below LOD","Below LOD",2.1700000000000001E-2,"Below LOD",1.6000000000000001E-3,"Below LOD","Below LOD","Below LOD",6.7000000000000002E-3,1.9E-3,"Below LOD"]
[670000,23000,47.6,1,"Output_1_4","Below LOD","Below LOD",10.7,14.5,19.440000000000001,16.55,"Below LOD","Below LOD","Below LOD",0.71799999999999997,2.24E-2,"Below LOD","Below LOD","Below LOD",1.5100000000000001E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",3.48E-3,"Below LOD","Below LOD"]
[694000,12000,47.6,1,"Output_1_5","Below LOD",47,85,12.7,11.29,16.48,"Below LOD",6.3,0.105,1.0649999999999999,0.223,1.15E-3,"Below LOD","Below LOD",0.185,5.7999999999999996E-3,6.1999999999999998E-3,"Below LOD","Below LOD","Below LOD",2.8000000000000001E-2,3.8999999999999998E-3,"Below LOD"]
[619000,18000,47.6,1,"Output_1_6",2.72,5.8,25.2,15.7,14.37,20.98,"Below LOD","Below LOD","Below LOD",0.78800000000000003,5.7000000000000002E-2,"Below LOD","Below LOD","Below LOD",3.2000000000000001E-2,1.4E-3,"Below LOD","Below LOD","Below LOD","Below LOD",6.7999999999999996E-3,1.1000000000000001E-3,"Below LOD"]
[721000,40000,47.6,1,"Output_1_7",1.66,12.9,29.7,11.7,15.15,38.299999999999997,"Below LOD",2.1,"Below LOD",0.67800000000000005,9.6000000000000002E-2,"Below LOD","Below LOD","Below LOD",5.3999999999999999E-2,1.83E-3,2.8E-3,"Below LOD","Below LOD",3.5000000000000001E-3,4.5999999999999999E-3,1.92E-3,"Below LOD"]
[593000,92000,47.6,1,"Output_1_8",4,61,78,16,75,106,0.82,52,0.318,0.77500000000000002,0.28999999999999998,7.1999999999999998E-3,"Below LOD",8.0000000000000002E-3,0.27,0.01,1.24E-2,"Below LOD","Below LOD","Below LOD",8.2000000000000003E-2,1.54E-2,1.2199999999999999E-3]
[641000,59000,47.6,1,"Output_1_9","Below LOD",45.8,102,12.5,17.2,71,0.41,26,9.6000000000000002E-2,1.85,0.32900000000000001,4.7000000000000002E-3,"Below LOD","Below LOD",0.26900000000000002,1.7600000000000001E-2,1.7399999999999999E-2,4.1000000000000003E-3,3.5000000000000001E-3,"Below LOD",1.21E-2,0.9,1.6000000000000001E-3]
[637000,21000,47.6,1,"Output_1_10",2.9,"Below LOD",19.2,14.3,21.85,24,"Below LOD","Below LOD","Below LOD",0.748,2.3900000000000001E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD"]
[656000,43000,47.6,1,"Output_1_11",6.23,3.94,42.2,14,17.899999999999999,48.9,"Below LOD","Below LOD",7.0999999999999994E-2,0.72899999999999998,5.8000000000000003E-2,"Below LOD","Below LOD","Below LOD",1.9E-2,1.0399999999999999E-3,"Below LOD","Below LOD","Below LOD","Below LOD",8.6E-3,1.6000000000000001E-3,"Below LOD"]
[687000,20000,47.6,1,"Output_1_12",1.76,0.67,21.1,12.1,25.43,19.059999999999999,"Below LOD","Below LOD","Below LOD",0.88800000000000001,2.7699999999999999E-2,"Below LOD","Below LOD","Below LOD","Below LOD",1.64E-3,4.0000000000000001E-3,"Below LOD",2.3E-3,"Below LOD",4.4000000000000003E-3,3.7000000000000002E-3,"Below LOD"]
[613000,18000,47.6,1,"Output_1_13",10.81,0.47899999999999998,78.8,15.8,30.99,25.78,"Below LOD",0.97,"Below LOD",1.369,4.1000000000000002E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",5.4000000000000003E-3,"Below LOD","Below LOD"]
[651000,18000,47.6,1,"Output_1_14",2.2400000000000002,1.22,17.7,14.9,20.55,23.3,"Below LOD","Below LOD","Below LOD",0.69199999999999995,3.5999999999999997E-2,"Below LOD","Below LOD","Below LOD",1.9400000000000001E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD"]
[610000,20000,47.6,1,"Output_1_15","Below LOD",5.5,32,12.2,22.61,32.299999999999997,"Below LOD",2.2999999999999998,"Below LOD",0.53900000000000003,0.16,"Below LOD","Below LOD","Below LOD",0.113,5.1999999999999998E-3,8.6999999999999994E-3,"Below LOD","Below LOD","Below LOD",1.6999999999999999E-3,1.1999999999999999E-3,8.8000000000000003E-4]
[558000,70000,47.6,1,"Output_1_16","Below LOD",520,1300,16.8,210,173,3.64,127,1.44,0.68100000000000005,9.6,0.215,"Below LOD","Below LOD",6.7,0.86,1.74,0.45500000000000002,0.41299999999999998,"Below LOD",0.122,0.124,0.154]
[555000,62000,47.6,1,"Output_1_17","Below LOD",338,770,16,68,93,3.27,310,0.82,0.53800000000000003,4.2699999999999996,2.41E-2,"Below LOD","Below LOD",3.31,0.2,0.26500000000000001,3.0599999999999999E-2,1.8200000000000001E-2,"Below LOD",7.0999999999999994E-2,3.9E-2,1.18E-2]
[585000,27000,47.6,1,"Output_1_18","Below LOD","Below LOD","Below LOD",11.6,10.82,16.350000000000001,"Below LOD","Below LOD","Below LOD",0.67100000000000004,0.16400000000000001,"Below LOD","Below LOD","Below LOD",0.32600000000000001,1.25E-3,"Below LOD","Below LOD","Below LOD","Below LOD",2.06E-2,"Below LOD","Below LOD"]
[383000,23000,47.6,1,"Output_1_19","Below LOD",495,2050,14.4,61,180,9,175,1.53,0.59299999999999997,12.3,1.6299999999999999E-2,"Below LOD","Below LOD",8.6,0.621,0.64,7.9000000000000001E-2,5.2999999999999999E-2,"Below LOD",0.183,8.8999999999999996E-2,4.0800000000000003E-2]
[609000,28000,47.6,1,"Output_1_20","Below LOD",4.8,31,20.5,65,16,"Below LOD",2.62,"Below LOD",0.52300000000000002,0.12,0.13300000000000001,"Below LOD","Below LOD",6.8000000000000005E-2,9.7000000000000003E-2,0.29799999999999999,0.04,1.78E-2,6.1000000000000004E-3,1.01E-2,2.5100000000000001E-2,2.01E-2]
[701000,22000,47.6,1,"Output_1_21","Below LOD",33,82,11.9,16.399999999999999,21.5,"Below LOD",4.4000000000000004,7.4999999999999997E-2,0.58199999999999996,0.39,6.9000000000000006E-2,"Below LOD","Below LOD",0.64,0.02,3.4000000000000002E-2,5.0000000000000001E-3,3.7000000000000002E-3,"Below LOD",6.1000000000000004E-3,1.0999999999999999E-2,1.6000000000000001E-3]
[565000,16000,47.6,1,"Output_1_22","Below LOD",1.3,"Below LOD",16.3,6.51,23.63,"Below LOD","Below LOD","Below LOD",0.41099999999999998,3.4000000000000002E-2,"Below LOD","Below LOD","Below LOD",1.9E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",2.8E-3,0.6,"Below LOD"]
[589000,19000,47.6,1,"Output_1_23","Below LOD",7.48,132,12.9,20.8,21.2,"Below LOD",31.1,"Below LOD",0.86399999999999999,0.14599999999999999,7.1000000000000004E-3,"Below LOD","Below LOD",1,5.0000000000000001E-3,7.4999999999999997E-3,3.5000000000000001E-3,"Below LOD","Below LOD",3.3000000000000002E-2,6.4999999999999997E-3,1.1000000000000001E-3]
[724000,36000,47.6,1,"Output_1_24","Below LOD",144,340,13,30,36,1.32,28.3,0.38,0.309,2.44,6.1000000000000004E-3,"Below LOD","Below LOD",1.71,0.13,0.121,1.9300000000000001E-2,9.4000000000000004E-3,"Below LOD",2.0299999999999999E-2,1.7000000000000001E-2,2.7000000000000001E-3]
[572000,12000,47.6,1,"Output_1_25","Below LOD",3.2,11,18.7,6.4,19.89,"Below LOD","Below LOD","Below LOD",0.61299999999999999,0.1,"Below LOD","Below LOD","Below LOD",3.5000000000000003E-2,"Below LOD",3.8999999999999998E-3,"Below LOD","Below LOD",5.7000000000000002E-3,"Below LOD","Below LOD",4.6000000000000001E-4]
[611000,15000,47.6,1,"Output_1_26",2.33,1.22,12.9,15.6,58.9,21.47,1.88,57,"Below LOD",0.49399999999999999,1.37E-2,9.5999999999999992E-3,"Below LOD","Below LOD",3.7400000000000003E-2,3.5999999999999999E-3,"Below LOD","Below LOD","Below LOD","Below LOD",2.8E-3,"Below LOD",9.3000000000000005E-4]
[856000,47000,47.6,1,"Output_1_27","Below LOD",124,350,13.2,22.4,26.7,1.39,34,0.95,0.58099999999999996,3,7.1000000000000004E-3,"Below LOD",3.6999999999999998E-2,2.4,0.12,0.14699999999999999,2.8000000000000001E-2,1.12E-2,"Below LOD",7.9000000000000001E-2,3.1E-2,3.3E-3]
[693000,26000,47.6,1,"Output_1_28",1.24,140,340,11.5,20.100000000000001,19.7,1.01,140,0.29199999999999998,0.93799999999999994,1.4,2.0600000000000002E-3,"Below LOD","Below LOD",1.1399999999999999,6.4000000000000001E-2,7.6999999999999999E-2,1.2500000000000001E-2,4.8999999999999998E-3,"Below LOD",2.75E-2,1.0200000000000001E-2,2.64E-3]
[573000,17000,47.6,1,"Output_1_29","Below LOD",0.37,10.1,16.3,27.3,16.670000000000002,"Below LOD","Below LOD","Below LOD",0.83799999999999997,1.9E-2,0.32800000000000001,"Below LOD","Below LOD","Below LOD",1.5100000000000001E-3,"Below LOD","Below LOD","Below LOD","Below LOD",5.5999999999999999E-3,"Below LOD","Below LOD"]
[639000,25000,47.6,1,"Output_1_30","Below LOD",2.6,9.5,14.8,2.0299999999999998,15.15,"Below LOD","Below LOD","Below LOD",0.52100000000000002,4.8000000000000001E-2,"Below LOD","Below LOD","Below LOD",6.4000000000000001E-2,1.4E-3,"Below LOD","Below LOD","Below LOD","Below LOD",5.4999999999999997E-3,"Below LOD","Below LOD"]
[{"$nulls":5},"Li","Mg","Al","P","Ti","Cr","Mn","Fe","Cu","Ge","Sr","Nb","Rh","Ag","Ba","La","Nd","Dy","Yb","Au","Pb","Th","U"]
[570000,140000,47.6,1,"Short_signal_1","Below LOD",227,480,25.9,80,3000,4.0999999999999996,89,8.1999999999999993,0.76,1.91,2.5000000000000001E-2,"Below LOD",2.1000000000000001E-2,1.27,5.8400000000000001E-2,5.3999999999999999E-2,2.3E-2,"Below LOD",0.06,0.33,5.6000000000000001E-2,9.5999999999999992E-3]
[530000,100000,47.6,1,"Short_signal_2","Below LOD",90,152,18.3,76,96,0.57999999999999996,24.8,0.39400000000000002,0.59,0.79,7.6E-3,"Below LOD","Below LOD",0.56999999999999995,1.8100000000000002E-2,1.8700000000000001E-2,"Below LOD","Below LOD","Below LOD",0.10199999999999999,"Below LOD",2.3E-3]

{"sheet":"20170420_S3_All_Integrations","index":2,"n_rows":59,"n_cols":64,"rows_kept":59,"cut":false,"hidden":false,"merged":[]}
["Analytical information",{"$nulls":9},"Internal standard",null,null,null,"Concentration in ppm"]
[{"$nulls":10},"Si","INT_2SE",null,null,"Li","INT_2SE","Mg","INT_2SE","Al","INT_2SE","P","INT_2SE","Ti (M47)","INT_2SE","Ti (M49)","INT_2SE","Cr (52)","INT_2SE","Cr (53)","INT_2SE","Mn","INT_2SE","Fe","INT_2SE","Cu","INT_2SE","Ge","INT_2SE","Sr","INT_2SE","Nb","INT_2SE","Rh","INT_2SE","Ag","INT_2SE","Ba","INT_2SE","La","INT_2SE","Nd","INT_2SE","Dy","INT_2SE","Yb","INT_2SE","Au","INT_2SE","Pb","INT_2SE","Th","INT_2SE","U","INT_2SE"]
[null,"Source file","DateTime","Date","Time","Duration(s)","Comments","Total points","Selection type","Components","Si29_CPS","Si29_CPS_Int2SE","IntStdWv","IntStdWv_Int2SE","Li_ppm_m7","Li_ppm_m7_Int2SE","Mg_ppm_m24","Mg_ppm_m24_Int2SE","Al_ppm_m27","Al_ppm_m27_Int2SE","P_ppm_m31","P_ppm_m31_Int2SE","Ti_ppm_m47","Ti_ppm_m47_Int2SE","Ti_ppm_m49","Ti_ppm_m49_Int2SE","Cr_ppm_m52","Cr_ppm_m52_Int2SE","Cr_ppm_m53","Cr_ppm_m53_Int2SE","Mn_ppm_m55","Mn_ppm_m55_Int2SE","Fe_ppm_m56","Fe_ppm_m56_Int2SE","Cu_ppm_m65","Cu_ppm_m65_Int2SE","Ge_ppm_m72","Ge_ppm_m72_Int2SE","Sr_ppm_m88","Sr_ppm_m88_Int2SE","Nb_ppm_m93","Nb_ppm_m93_Int2SE","Rh_ppm_m103","Rh_ppm_m103_Int2SE","Ag_ppm_m107","Ag_ppm_m107_Int2SE","Ba_ppm_m137","Ba_ppm_m137_Int2SE","La_ppm_m139","La_ppm_m139_Int2SE","Nd_ppm_m146","Nd_ppm_m146_Int2SE","Dy_ppm_m163","Dy_ppm_m163_Int2SE","Yb_ppm_m172","Yb_ppm_m172_Int2SE","Au_ppm_m197","Au_ppm_m197_Int2SE","Pb_ppm_m208","Pb_ppm_m208_Int2SE","Th_ppm_m232","Th_ppm_m232_Int2SE","U_ppm_m238","U_ppm_m238_Int2SE"]
["G_NIST612_1","Sequence","20/04/2017 (5) 14:23:55.92","20/04/2017 (5)","14:23:55.920",26.786999999999999,"NIST612-2",66,"Normal",1,691000,25000,33.6,1,41.7,1.5,76.7,1.8,11210,250,50.6,1.5,44.1,1.1000000000000001,44,1.3,36,1.2,36.1,1.3,38.1,1.3,50.8,1.7,36.9,1.2,35.1,1.1000000000000001,78.5,2.2000000000000002,40,1.2,0.89300000000000002,2.5999999999999999E-2,22.08,0.75,40.200000000000003,1.7,36.4,1.5,36.799999999999997,1.6,37.200000000000003,1.6,40.299999999999997,1.7,5.19,0.21,38.799999999999997,1.5,38.6,1.3,37.299999999999997,1.3]
["G_NIST612_2","Sequence","20/04/2017 (5) 14:24:53.62","20/04/2017 (5)","14:24:53.620",27.123000000000001,"NIST612-3",67,"Normal",1,693000,25000,33.6,1,42.5,1.6,77.3,1.4,11320,160,52.6,1.3,45.2,1.2,45,1.3,36.6,1.2,36.9,1.3,38.6,1.3,51.6,1.5,37.299999999999997,1.1000000000000001,35.42,0.79,79.2,1.4,40.44,0.77,0.91,2.1000000000000001E-2,22.31,0.71,40.6,1.6,36.9,1.5,37.1,1.5,37.700000000000003,1.5,40.700000000000003,1.4,5.13,0.14000000000000001,38.9,1,38.479999999999997,0.77,37.299999999999997,0.94]
["G_NIST612_3","Sequence","20/04/2017 (5) 14:25:51.41","20/04/2017 (5)","14:25:51.410",26.832000000000001,"NIST612-4",67,"Normal",1,728000,25000,33.6,1,42,1.4,77,1.1000000000000001,11130,200,51.2,1.2,43.61,0.83,43.6,0.95,35.61,0.85,35.619999999999997,0.86,37.92,0.87,50.7,1.2,37.090000000000003,0.95,34.99,0.9,79.2,1.8,40.56,0.82,0.89700000000000002,1.7999999999999999E-2,21.95,0.44,39.369999999999997,0.8,35.729999999999997,0.74,35.82,0.84,35.76,0.8,39.1,1,5.16,0.14000000000000001,38.6,1,38.26,0.93,38.049999999999997,0.97]
["G_NIST612_4","Sequence","20/04/2017 (5) 14:37:28.58","20/04/2017 (5)","14:37:28.580",26.657,"NIST612-5",66,"Normal",1,730000,28000,33.6,1,41.7,1.5,76.099999999999994,1.2,11100,180,51.9,1.2,44.12,0.79,44,1,36.1,1,35.9,1,37.799999999999997,1.1000000000000001,51.4,1.3,36.74,0.75,34.74,0.65,77.7,1.4,39.5,0.73,0.89600000000000002,0.02,21.82,0.45,39.5,1.1000000000000001,35.729999999999997,0.95,35.76,0.99,35.71,0.93,38.58,0.9,5.0199999999999996,0.1,37.96,0.65,37.229999999999997,0.71,36.770000000000003,0.76]
["G_NIST612_5","Sequence","20/04/2017 (5) 14:38:25.90","20/04/2017 (5)","14:38:25.900",26.928000000000001,"NIST612-6",67,"Normal",1,717000,28000,33.6,1,41.4,1.5,77.2,1.4,11140,190,50.1,1,43.94,0.98,43.87,0.98,35.799999999999997,1,35.56,0.9,37.659999999999997,0.87,50.5,1.1000000000000001,36.729999999999997,0.81,34.71,0.68,77.400000000000006,1.7,39.43,0.97,0.89600000000000002,2.5999999999999999E-2,21.83,0.7,39.200000000000003,1.3,35.5,1.2,35.6,1.2,35.4,1.1000000000000001,38.299999999999997,1.1000000000000001,4.97,0.14000000000000001,37.9,1,37,1.1000000000000001,36.9,1.3]
["G_NIST612_6","Sequence","20/04/2017 (5) 14:48:09.80","20/04/2017 (5)","14:48:09.800",26.021000000000001,"NIST612-7",65,"Normal",1,712000,27000,33.6,1,43,1.6,77,1.3,11180,190,50.3,1.1000000000000001,43.85,0.83,44.28,0.98,36.15,0.94,36,1,38.200000000000003,1,51.5,1.4,36.99,0.79,35.159999999999997,0.75,77.7,1.4,39.31,0.72,0.89800000000000002,1.7999999999999999E-2,21.98,0.49,40,1,35.799999999999997,1,36,1.1000000000000001,35.9,1.1000000000000001,39.200000000000003,1,5.15,0.12,39.06,0.71,37.67,0.71,37.5,0.61]
["G_NIST612_7","Sequence","20/04/2017 (5) 14:49:07.65","20/04/2017 (5)","14:49:07.650",26.463999999999999,"NIST612-8",65,"Normal",1,688000,20000,33.6,1,41.4,1.5,77,1.4,11010,170,49.3,1.1000000000000001,43.94,0.82,44.12,0.92,35.69,0.87,36.61,0.95,38.1,0.96,51.4,1.2,37.4,1,35.6,1,78.5,2,39.700000000000003,1,0.9,2.9000000000000001E-2,22.1,0.59,39.200000000000003,1.1000000000000001,35.200000000000003,1,35.24,0.89,35.04,0.89,38.26,0.98,5.16,0.14000000000000001,38.799999999999997,1.2,37,1.1000000000000001,38,1.2]
["G_NIST612_8","Sequence","20/04/2017 (5) 14:59:45.33","20/04/2017 (5)","14:59:45.330",25.167999999999999,"NIST612-9",62,"Normal",1,668000,24000,33.6,1,43.1,1.5,76.900000000000006,1.4,10990,180,52.6,1.1000000000000001,44.22,0.81,44,1.1000000000000001,37.1,1.2,37.4,1.4,38.799999999999997,1.4,53.2,1.9,38.299999999999997,1.2,36.1,1,78.900000000000006,2,39.549999999999997,0.79,0.90600000000000003,2.1000000000000001E-2,22.17,0.56000000000000005,40,1.1000000000000001,35.299999999999997,1.1000000000000001,36.200000000000003,1.4,35.700000000000003,1.4,39,1.5,5.27,0.19,39.299999999999997,1.2,37.340000000000003,0.97,38.01,0.88]
["G_NIST612_9","Sequence","20/04/2017 (5) 15:00:42.91","20/04/2017 (5)","15:00:42.910",25.782,"NIST612-10",63,"Normal",1,681000,22000,33.6,1,42.1,2,77.099999999999994,1.2,11160,200,51.1,1.2,43.7,1,43.4,1.3,35.6,1.2,35.6,1.3,36.799999999999997,1.3,49.4,1.7,36.299999999999997,1.1000000000000001,34.700000000000003,0.91,77.099999999999994,1.8,39.409999999999997,0.99,0.91,2.7E-2,22.36,0.77,39.799999999999997,1.6,35.700000000000003,1.3,35.700000000000003,1.4,35.299999999999997,1.2,38.1,1.3,5.0199999999999996,0.17,38.1,1,37.03,0.98,37.299999999999997,1.3]
["G_NIST612_10","Sequence","20/04/2017 (5) 15:12:16.99","20/04/2017 (5)","15:12:16.990",24.945,"NIST612-11",62,"Normal",1,668000,21000,33.6,1,41.8,1.7,76.8,1.4,11300,190,50.7,1.1000000000000001,43.68,0.95,43.8,1.2,35.4,1.1000000000000001,35.200000000000003,1.2,37.700000000000003,1.3,50.7,1.7,37.1,1.1000000000000001,34.9,0.87,79,1.6,40.53,0.86,0.90100000000000002,2.1000000000000001E-2,21.81,0.54,39.200000000000003,1.3,36.200000000000003,1.2,36,1.3,36.5,1.3,39.700000000000003,1.3,5.08,0.15,38.17,0.86,38.28,0.72,37.33,0.89]
["G_NIST612_11","Sequence","20/04/2017 (5) 15:13:14.20","20/04/2017 (5)","15:13:14.200",25.303999999999998,"NIST612-12",63,"Normal",1,648000,20000,33.6,1,41.2,1.6,77,1.6,11280,170,51.4,1.2,44.72,0.93,44.5,1.1000000000000001,36.299999999999997,1.1000000000000001,36.1,1.2,38.6,1.4,51,1.7,36.700000000000003,1.1000000000000001,34.89,0.89,79.099999999999994,1.7,40.46,0.73,0.88800000000000001,2.4E-2,22,0.6,39.9,1.4,36.700000000000003,1.3,36.9,1.4,37.4,1.4,40.4,1.3,5.1100000000000003,0.14000000000000001,38.65,0.92,38.549999999999997,0.82,37,0.96]
[]
["G_NIST614_1","Sequence","20/04/2017 (5) 14:26:49.80","20/04/2017 (5)","14:26:49.800",25.899000000000001,"NIST614-1",64,"Normal",1,689000,32000,33.6,1,2.19,0.43,39.4,0.96,11260,290,19.84,0.92,3.18,0.15,3.07,0.16,7.32,0.45,1.37,0.17,0.85799999999999998,9.4E-2,12.92,0.81,1.2829999999999999,7.8E-2,0.96399999999999997,4.9000000000000002E-2,47.4,1.5,0.86499999999999999,3.1E-2,1.5549999999999999,6.3E-2,0.40899999999999997,0.02,3.26,0.2,0.746,4.5999999999999999E-2,0.77900000000000003,5.2999999999999999E-2,0.79700000000000004,5.1999999999999998E-2,0.80600000000000005,4.7E-2,0.53400000000000003,2.9000000000000001E-2,2.1989999999999998,7.6999999999999999E-2,0.77400000000000002,2.5999999999999999E-2,0.83099999999999996,0.03]
["G_NIST614_2","Sequence","20/04/2017 (5) 14:27:47.11","20/04/2017 (5)","14:27:47.110",26.774999999999999,"NIST614-2",66,"Normal",1,676000,19000,33.6,1,1.85,0.46,39.14,0.69,11170,190,19.36,0.73,3.28,0.11,3.02,0.11,7.17,0.32,1.32,0.13,0.871,6.9000000000000006E-2,12.11,0.39,1.2090000000000001,4.2000000000000003E-2,0.95499999999999996,3.9E-2,46.3,1.1000000000000001,0.85099999999999998,2.5000000000000001E-2,1.524,3.9E-2,0.41099999999999998,1.4999999999999999E-2,3.24,0.11,0.73,2.3E-2,0.78,3.2000000000000001E-2,0.78,2.8000000000000001E-2,0.78600000000000003,3.2000000000000001E-2,0.52,1.7999999999999999E-2,2.1829999999999998,5.2999999999999999E-2,0.76400000000000001,2.1000000000000001E-2,0.81200000000000006,2.1000000000000001E-2]
["G_NIST614_3","Sequence","20/04/2017 (5) 14:39:24.66","20/04/2017 (5)","14:39:24.660",25.785,"NIST614-3",64,"Normal",1,656000,25000,33.6,1,1.31,0.38,39.28,0.93,11090,290,20.47,0.82,3.21,0.14000000000000001,3.08,0.11,6.71,0.38,1.63,0.16,0.999,6.2E-2,12.85,0.39,1.2809999999999999,4.3999999999999997E-2,0.91400000000000003,4.2999999999999997E-2,46.6,1.2,0.83699999999999997,2.5000000000000001E-2,1.546,4.2999999999999997E-2,0.41599999999999998,1.6E-2,3.29,0.12,0.70299999999999996,2.1999999999999999E-2,0.76,2.8000000000000001E-2,0.76200000000000001,2.8000000000000001E-2,0.75800000000000001,2.4E-2,0.53900000000000003,1.7000000000000001E-2,2.25,6.7000000000000004E-2,0.747,0.02,0.81499999999999995,2.8000000000000001E-2]
["G_NIST614_4","Sequence","20/04/2017 (5) 14:50:05.26","20/04/2017 (5)","14:50:05.260",26.260999999999999,"NIST614-4",64,"Normal",1,633000,27000,33.6,1,1.28,0.48,38.5,1,11170,260,20.6,1.1000000000000001,3.14,0.15,3.24,0.17,7.83,0.45,1.53,0.18,0.78800000000000003,8.5000000000000006E-2,12.64,0.57999999999999996,1.2889999999999999,0.06,0.94899999999999995,5.0999999999999997E-2,46.8,1.6,0.84599999999999997,0.03,1.6180000000000001,6.7000000000000004E-2,0.42899999999999999,2.5999999999999999E-2,3.28,0.2,0.72,4.2999999999999997E-2,0.76800000000000002,4.3999999999999997E-2,0.78400000000000003,4.1000000000000002E-2,0.76600000000000001,3.6999999999999998E-2,0.54500000000000004,2.1999999999999999E-2,2.2839999999999998,7.6999999999999999E-2,0.76900000000000002,2.8000000000000001E-2,0.82699999999999996,3.1E-2]
["G_NIST614_5","Sequence","20/04/2017 (5) 15:01:42.75","20/04/2017 (5)","15:01:42.750",23.509,"NIST614-5",58,"Normal",1,657000,36000,33.6,1,1.79,0.5,38.700000000000003,1,10980,280,18.46,0.93,3.11,0.18,3.03,0.21,7.06,0.46,1.4,0.18,0.88,0.11,12.03,0.74,1.226,7.2999999999999995E-2,0.95499999999999996,4.2999999999999997E-2,45.7,1.3,0.83299999999999996,3.3000000000000002E-2,1.631,8.2000000000000003E-2,0.4,2.7E-2,3.3,0.24,0.72299999999999998,5.1999999999999998E-2,0.76200000000000001,5.3999999999999999E-2,0.72099999999999997,4.7E-2,0.72599999999999998,4.4999999999999998E-2,0.53300000000000003,2.9000000000000001E-2,2.2109999999999999,8.4000000000000005E-2,0.72399999999999998,2.9000000000000001E-2,0.83699999999999997,5.0999999999999997E-2]
["G_NIST614_6","Sequence","20/04/2017 (5) 15:11:20.86","20/04/2017 (5)","15:11:20.860",23.082999999999998,"NIST614-6",57,"Normal",1,627000,30000,33.6,1,2.12,0.52,39.1,1,11140,260,20.5,1.2,3.01,0.17,3.02,0.17,8.14,0.57999999999999996,1.81,0.18,1.008,9.4E-2,12.98,0.74,1.304,6.8000000000000005E-2,0.97099999999999997,4.7E-2,46.4,1,0.82899999999999996,1.7000000000000001E-2,1.554,6.6000000000000003E-2,0.4,2.4E-2,3.25,0.21,0.72299999999999998,4.9000000000000002E-2,0.76600000000000001,5.1999999999999998E-2,0.752,4.7E-2,0.745,3.6999999999999998E-2,0.52400000000000002,2.1999999999999999E-2,2.16,6.2E-2,0.753,0.02,0.82599999999999996,3.2000000000000001E-2]
[]
["No_Si_signal_1","Sequence","20/04/2017 (5) 14:35:31.49","20/04/2017 (5)","14:35:31.490",26.116,"15012-S3-8",64,"Normal",1,-100,1600,47.6,1,"no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN"]
["No_Si_signal_2","Sequence","20/04/2017 (5) 14:52:01.66","20/04/2017 (5)","14:52:01.660",25.344000000000001,"15057-S3-2",62,"Normal",1,2000,2100,47.6,1,"no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN","no value","NAN"]
["No_Si_signal_3","Sequence","20/04/2017 (5) 15:07:24.73","20/04/2017 (5)","15:07:24.730",28.181999999999999,"15057-S3-15",70,"Normal",1,6200,3800,47.6,1,"Below LOD","Below LOD",40000,71000,14600,8700,460,850,750,820,1100,1300,2100,1600,2700,5100,74,50,1400,1100,35,19,"Below LOD","Below LOD",117,79,0.06,4.9000000000000002E-2,"Below LOD","Below LOD","Below LOD","Below LOD",47,33,5.6,3.2,5,4.5999999999999996,2.2000000000000002,3.2,0.18,0.15,"Below LOD","Below LOD",1.8,1,0.32,0.22,0.1,0.11]
[]
["Output_1_1","Sequence","20/04/2017 (5) 14:29:42.20","20/04/2017 (5)","14:29:42.200",28.843,"15012-S3-2",71,"Normal",1,668000,26000,47.6,1,4.12,0.76,32.1,6.3,94,19,13,1.1000000000000001,21.42,0.67,20.32,0.63,29.8,2.6,3.47,0.35,"Below LOD","Below LOD",9.3000000000000007,1.9,0.121,2.7E-2,1.0680000000000001,4.3999999999999997E-2,0.154,0.02,7.7999999999999999E-4,3.8000000000000002E-4,"Below LOD","Below LOD","Below LOD","Below LOD",0.13400000000000001,3.7999999999999999E-2,2.8600000000000001E-3,7.5000000000000002E-4,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",3.27E-2,6.4000000000000003E-3,"Below LOD","Below LOD",1.1299999999999999E-3,4.8999999999999998E-4]
["Output_1_2","Sequence","20/04/2017 (5) 14:30:42.87","20/04/2017 (5)","14:30:42.870",25.741,"15012-S3-3",64,"Normal",1,623000,18000,47.6,1,"Below LOD","Below LOD",0.62,0.49,15.3,4.7,16.3,1.3,16.72,0.47,16.63,0.63,20.6,1,2.25,0.26,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",0.91900000000000004,5.0999999999999997E-2,1.6400000000000001E-2,3.5999999999999999E-3,"Below LOD","Below LOD","Below LOD","Below LOD",5.7000000000000002E-3,1.5E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",3.8999999999999998E-3,1.4E-3,0.09,0.17,"Below LOD","Below LOD"]
["Output_1_3","Sequence","20/04/2017 (5) 14:32:35.61","20/04/2017 (5)","14:32:35.610",28.419,"15012-S3-5",70,"Normal",1,789000,35000,47.6,1,4.07,0.65,1.1200000000000001,0.69,21.9,3.7,10.76,0.95,18.190000000000001,0.67,17.68,0.63,15.8,0.62,1.69,0.18,"Below LOD","Below LOD","Below LOD","Below LOD",5.8000000000000003E-2,1.9E-2,0.76600000000000001,4.8000000000000001E-2,3.2099999999999997E-2,3.8E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",2.1700000000000001E-2,7.1999999999999998E-3,"Below LOD","Below LOD",1.6000000000000001E-3,1E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",6.7000000000000002E-3,2E-3,1.9E-3,3.5000000000000001E-3,"Below LOD","Below LOD"]
["Output_1_4","Sequence","20/04/2017 (5) 14:33:36.65","20/04/2017 (5)","14:33:36.650",25.524999999999999,"15012-S3-6",63,"Normal",1,670000,23000,47.6,1,"Below LOD","Below LOD","Below LOD","Below LOD",10.7,3.4,14.5,1.1000000000000001,19.440000000000001,0.5,19.420000000000002,0.56000000000000005,16.55,0.49,1.67,0.17,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",0.71799999999999997,4.2000000000000003E-2,2.24E-2,4.7999999999999996E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",1.5100000000000001E-2,7.4999999999999997E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",3.48E-3,9.8999999999999999E-4,"Below LOD","Below LOD","Below LOD","Below LOD"]
["Output_1_5","Sequence","20/04/2017 (5) 14:34:39.26","20/04/2017 (5)","14:34:39.260",20.228000000000002,"15012-S3-7",50,"Normal",1,694000,12000,47.6,1,"Below LOD","Below LOD",47,15,85,25,12.7,1.1000000000000001,11.29,0.39,11.22,0.39,16.48,0.48,1.9,0.2,"Below LOD","Below LOD",6.3,1.3,0.105,2.1000000000000001E-2,1.0649999999999999,4.8000000000000001E-2,0.223,7.1999999999999995E-2,1.15E-3,6.2E-4,"Below LOD","Below LOD","Below LOD","Below LOD",0.185,5.0999999999999997E-2,5.7999999999999996E-3,2.0999999999999999E-3,6.1999999999999998E-3,3.3999999999999998E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",2.8000000000000001E-2,4.0000000000000001E-3,3.8999999999999998E-3,1.9E-3,"Below LOD","Below LOD"]
["Output_1_6","Sequence","20/04/2017 (5) 14:36:26.89","20/04/2017 (5)","14:36:26.890",28.347000000000001,"15012-S3-9",70,"Normal",1,619000,18000,47.6,1,2.72,0.68,5.8,3.4,25.2,7.6,15.7,1.1000000000000001,14.37,0.39,14.42,0.52,20.98,0.74,2.41,0.24,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",0.78800000000000003,4.7E-2,5.7000000000000002E-2,2.8000000000000001E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",3.2000000000000001E-2,1.6E-2,1.4E-3,8.0000000000000004E-4,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",6.7999999999999996E-3,4.5999999999999999E-3,1.1000000000000001E-3,1.1000000000000001E-3,"Below LOD","Below LOD"]
["Output_1_7","Sequence","20/04/2017 (5) 14:40:24.18","20/04/2017 (5)","14:40:24.180",16.358000000000001,"15012-S3-10",40,"Normal",1,721000,40000,47.6,1,1.66,0.78,12.9,5.4,29.7,8.8000000000000007,11.7,1.4,15.15,0.49,14.8,0.8,38.299999999999997,7.4,3.94,0.69,"Below LOD","Below LOD",2.1,1.1000000000000001,"Below LOD","Below LOD",0.67800000000000005,4.9000000000000002E-2,9.6000000000000002E-2,2.5000000000000001E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",5.3999999999999999E-2,2.1999999999999999E-2,1.83E-3,9.7999999999999997E-4,2.8E-3,1.6000000000000001E-3,"Below LOD","Below LOD","Below LOD","Below LOD",3.5000000000000001E-3,2.8999999999999998E-3,4.5999999999999999E-3,1.8E-3,1.92E-3,9.3999999999999997E-4,"Below LOD","Below LOD"]
["Output_1_8","Sequence","20/04/2017 (5) 14:41:21.53","20/04/2017 (5)","14:41:21.530",17.126999999999999,"15012-S3-11",42,"Normal",1,593000,92000,47.6,1,4,1.4,61,11,78,17,16,3,75,14,83,16,106,24,20.100000000000001,5.7,0.82,0.42,52,14,0.318,6.9000000000000006E-2,0.77500000000000002,7.2999999999999995E-2,0.28999999999999998,0.12,7.1999999999999998E-3,2.3999999999999998E-3,"Below LOD","Below LOD",8.0000000000000002E-3,4.0000000000000001E-3,0.27,0.11,0.01,4.1999999999999997E-3,1.24E-2,6.0000000000000001E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",8.2000000000000003E-2,1.6E-2,1.54E-2,7.1999999999999998E-3,1.2199999999999999E-3,8.9999999999999998E-4]
["Output_1_9","Sequence","20/04/2017 (5) 14:42:19.55","20/04/2017 (5)","14:42:19.550",18.704000000000001,"15012-S3-12",46,"Normal",1,641000,59000,47.6,1,"Below LOD","Below LOD",45.8,8.4,102,19,12.5,1.7,17.2,1.3,16.2,1.3,71,14,8.3000000000000007,1.7,0.41,0.17,26,12,9.6000000000000002E-2,3.9E-2,1.85,0.1,0.32900000000000001,5.2999999999999999E-2,4.7000000000000002E-3,1.6000000000000001E-3,"Below LOD","Below LOD","Below LOD","Below LOD",0.26900000000000002,5.1999999999999998E-2,1.7600000000000001E-2,2.7000000000000001E-3,1.7399999999999999E-2,4.4999999999999997E-3,4.1000000000000003E-3,2E-3,3.5000000000000001E-3,1.6999999999999999E-3,"Below LOD","Below LOD",1.21E-2,3.8999999999999998E-3,0.9,1.7,1.6000000000000001E-3,8.4000000000000003E-4]
["Output_1_10","Sequence","20/04/2017 (5) 14:43:18.26","20/04/2017 (5)","14:43:18.260",24.052,"15012-S3-13",59,"Normal",1,637000,21000,47.6,1,2.9,0.66,"Below LOD","Below LOD",19.2,4.5,14.3,1.2,21.85,0.5,21.59,0.56000000000000005,24,1.4,2.2799999999999998,0.25,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",0.748,4.5999999999999999E-2,2.3900000000000001E-2,4.0000000000000001E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD"]
["Output_1_11","Sequence","20/04/2017 (5) 14:44:15.30","20/04/2017 (5)","14:44:15.300",25.667999999999999,"15012-S3-14",63,"Normal",1,656000,43000,47.6,1,6.23,0.86,3.94,0.94,42.2,5.9,14,1.2,17.899999999999999,0.74,18.21,0.76,48.9,8.3000000000000007,5.46,0.9,"Below LOD","Below LOD","Below LOD","Below LOD",7.0999999999999994E-2,2.5999999999999999E-2,0.72899999999999998,5.3999999999999999E-2,5.8000000000000003E-2,1.9E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",1.9E-2,1.0999999999999999E-2,1.0399999999999999E-3,6.0999999999999997E-4,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",8.6E-3,2.5000000000000001E-3,1.6000000000000001E-3,1.6000000000000001E-3,"Below LOD","Below LOD"]
["Output_1_12","Sequence","20/04/2017 (5) 14:45:13.29","20/04/2017 (5)","14:45:13.290",26.17,"15012-S3-15",64,"Normal",1,687000,20000,47.6,1,1.76,0.54,0.67,7.0000000000000007E-2,21.1,3.5,12.1,1.1000000000000001,25.43,0.55000000000000004,25.7,0.73,19.059999999999999,0.57999999999999996,2.12,0.19,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",0.88800000000000001,5.0999999999999997E-2,2.7699999999999999E-2,5.3E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",1.64E-3,7.6000000000000004E-4,4.0000000000000001E-3,1.4E-3,"Below LOD","Below LOD",2.3E-3,1.1000000000000001E-3,"Below LOD","Below LOD",4.4000000000000003E-3,1.6999999999999999E-3,3.7000000000000002E-3,1.1999999999999999E-3,"Below LOD","Below LOD"]
["Output_1_13","Sequence","20/04/2017 (5) 14:46:12.42","20/04/2017 (5)","14:46:12.420",24.939,"15012-S3-16",62,"Normal",1,613000,18000,47.6,1,10.81,0.95,0.47899999999999998,8.7999999999999995E-2,78.8,5.9,15.8,1.2,30.99,0.67,31.02,0.74,25.78,0.86,2.85,0.27,"Below LOD","Below LOD",0.97,0.39,"Below LOD","Below LOD",1.369,5.8999999999999997E-2,4.1000000000000002E-2,5.1999999999999998E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",5.4000000000000003E-3,1.6999999999999999E-3,"Below LOD","Below LOD","Below LOD","Below LOD"]
["Output_1_14","Sequence","20/04/2017 (5) 14:47:09.32","20/04/2017 (5)","14:47:09.320",25.724,"15012-S3-17",63,"Normal",1,651000,18000,47.6,1,2.2400000000000002,0.65,1.22,0.91,17.7,4.2,14.9,1.2,20.55,0.52,20.32,0.69,23.3,1,2.42,0.21,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",0.69199999999999995,4.4999999999999998E-2,3.5999999999999997E-2,0.01,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",1.9400000000000001E-2,8.6E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD"]
["Output_1_15","Sequence","20/04/2017 (5) 14:51:06.99","20/04/2017 (5)","14:51:06.990",22.541,"12057-S3-1",55,"Normal",1,610000,20000,47.6,1,"Below LOD","Below LOD",5.5,3.6,32,16,12.2,1.4,22.61,0.7,22.83,0.83,32.299999999999997,1.5,3.92,0.27,"Below LOD","Below LOD",2.2999999999999998,1.9,"Below LOD","Below LOD",0.53900000000000003,4.5999999999999999E-2,0.16,0.11,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",0.113,4.8000000000000001E-2,5.1999999999999998E-3,3.5000000000000001E-3,8.6999999999999994E-3,6.7999999999999996E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",1.6999999999999999E-3,1E-3,1.1999999999999999E-3,1.2999999999999999E-3,8.8000000000000003E-4,6.4999999999999997E-4]
["Output_1_16","Sequence","20/04/2017 (5) 14:52:56.49","20/04/2017 (5)","14:52:56.490",28.689,"12057-S3-3",71,"Normal",1,558000,70000,47.6,1,"Below LOD","Below LOD",520,140,1300,340,16.8,3.1,210,34,199,31,173,61,23.2,8.3000000000000007,3.64,0.99,127,35,1.44,0.39,0.68100000000000005,8.5999999999999993E-2,9.6,2.8,0.215,3.1E-2,"Below LOD","Below LOD","Below LOD","Below LOD",6.7,1.9,0.86,0.13,1.74,0.22,0.45500000000000002,8.3000000000000004E-2,0.41299999999999998,7.1999999999999995E-2,"Below LOD","Below LOD",0.122,2.3E-2,0.124,2.5999999999999999E-2,0.154,2.4E-2]
["Output_1_17","Sequence","20/04/2017 (5) 14:53:56.36","20/04/2017 (5)","14:53:56.360",19.574000000000002,"12057-S3-4",49,"Normal",1,555000,62000,47.6,1,"Below LOD","Below LOD",338,44,770,120,16,1.9,68,18,60,12,93,22,19.7,5.4,3.27,0.68,310,390,0.82,0.15,0.53800000000000003,8.2000000000000003E-2,4.2699999999999996,0.62,2.41E-2,8.2000000000000007E-3,"Below LOD","Below LOD","Below LOD","Below LOD",3.31,0.48,0.2,3.1E-2,0.26500000000000001,4.2000000000000003E-2,3.0599999999999999E-2,7.1999999999999998E-3,1.8200000000000001E-2,4.4999999999999997E-3,"Below LOD","Below LOD",7.0999999999999994E-2,1.4E-2,3.9E-2,1.2E-2,1.18E-2,3.0000000000000001E-3]
["Output_1_18","Sequence","20/04/2017 (5) 14:54:55.90","20/04/2017 (5)","14:54:55.900",25.67,"12057-S3-5",63,"Normal",1,585000,27000,47.6,1,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",11.6,1.4,10.82,0.4,10.82,0.39,16.350000000000001,0.68,1.76,0.21,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",0.67100000000000004,4.2000000000000003E-2,0.16400000000000001,0.03,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",0.32600000000000001,7.4999999999999997E-2,1.25E-3,9.5E-4,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",2.06E-2,5.3E-3,"Below LOD","Below LOD","Below LOD","Below LOD"]
["Output_1_19","Sequence","20/04/2017 (5) 14:56:00.47","20/04/2017 (5)","14:56:00.470",17.356000000000002,"12057-S3-6",43,"Normal",1,383000,23000,47.6,1,"Below LOD","Below LOD",495,51,2050,250,14.4,2.5,61,28,51.5,9.6,180,22,23.7,3.1,9,1.7,175,22,1.53,0.19,0.59299999999999997,8.4000000000000005E-2,12.3,1.9,1.6299999999999999E-2,4.4999999999999997E-3,"Below LOD","Below LOD","Below LOD","Below LOD",8.6,2.2000000000000002,0.621,9.4E-2,0.64,0.1,7.9000000000000001E-2,1.2E-2,5.2999999999999999E-2,1.0999999999999999E-2,"Below LOD","Below LOD",0.183,2.3E-2,8.8999999999999996E-2,1.4E-2,4.0800000000000003E-2,7.9000000000000008E-3]
["Output_1_20","Sequence","20/04/2017 (5) 14:56:51.86","20/04/2017 (5)","14:56:51.860",25.616,"12057-S3-7",63,"Normal",1,609000,28000,47.6,1,"Below LOD","Below LOD",4.8,3.1,31,18,20.5,1.1000000000000001,65,12,64,12,16,1,1.79,0.26,"Below LOD","Below LOD",2.62,0.71,"Below LOD","Below LOD",0.52300000000000002,4.1000000000000002E-2,0.12,4.3999999999999997E-2,0.13300000000000001,3.5999999999999997E-2,"Below LOD","Below LOD","Below LOD","Below LOD",6.8000000000000005E-2,2.1999999999999999E-2,9.7000000000000003E-2,2.9000000000000001E-2,0.29799999999999999,9.1999999999999998E-2,0.04,1.2E-2,1.78E-2,6.1999999999999998E-3,6.1000000000000004E-3,2.0999999999999999E-3,1.01E-2,2.8E-3,2.5100000000000001E-2,7.9000000000000008E-3,2.01E-2,6.6E-3]
["Output_1_21","Sequence","20/04/2017 (5) 14:57:52.13","20/04/2017 (5)","14:57:52.130",22.811,"12057-S3-8",56,"Normal",1,701000,22000,47.6,1,"Below LOD","Below LOD",33,15,82,45,11.9,1.1000000000000001,16.399999999999999,3.1,15.5,2.9,21.5,1.1000000000000001,2.59,0.25,"Below LOD","Below LOD",4.4000000000000004,2.2999999999999998,7.4999999999999997E-2,2.5999999999999999E-2,0.58199999999999996,0.04,0.39,0.17,6.9000000000000006E-2,4.2999999999999997E-2,"Below LOD","Below LOD","Below LOD","Below LOD",0.64,0.34,0.02,1.0999999999999999E-2,3.4000000000000002E-2,1.7000000000000001E-2,5.0000000000000001E-3,2.8999999999999998E-3,3.7000000000000002E-3,2.3999999999999998E-3,"Below LOD","Below LOD",6.1000000000000004E-3,3.2000000000000002E-3,1.0999999999999999E-2,1.2E-2,1.6000000000000001E-3,1.1000000000000001E-3]
["Output_1_22","Sequence","20/04/2017 (5) 14:58:50.67","20/04/2017 (5)","14:58:50.670",22.116,"12057-S3-9",55,"Normal",1,565000,16000,47.6,1,"Below LOD","Below LOD",1.3,1.2,"Below LOD","Below LOD",16.3,1.2,6.51,0.36,6.86,0.63,23.63,0.89,2.52,0.27,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",0.41099999999999998,5.0999999999999997E-2,3.4000000000000002E-2,2.4E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",1.9E-2,1.2E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",2.8E-3,2E-3,0.6,1.1000000000000001,"Below LOD","Below LOD"]
["Output_1_23","Sequence","20/04/2017 (5) 15:02:41.25","20/04/2017 (5)","15:02:41.250",22.821000000000002,"12057-S3-10",56,"Normal",1,589000,19000,47.6,1,"Below LOD","Below LOD",7.48,0.96,132,20,12.9,1,20.8,1.8,20.7,1.9,21.2,0.8,2.4,0.25,"Below LOD","Below LOD",31.1,4.5,"Below LOD","Below LOD",0.86399999999999999,4.7E-2,0.14599999999999999,7.4999999999999997E-2,7.1000000000000004E-3,1.6999999999999999E-3,"Below LOD","Below LOD","Below LOD","Below LOD",1,0.12,5.0000000000000001E-3,1.2999999999999999E-3,7.4999999999999997E-3,2.7000000000000001E-3,3.5000000000000001E-3,1.6000000000000001E-3,"Below LOD","Below LOD","Below LOD","Below LOD",3.3000000000000002E-2,1.2E-2,6.4999999999999997E-3,1.6000000000000001E-3,1.1000000000000001E-3,4.6000000000000001E-4]
["Output_1_24","Sequence","20/04/2017 (5) 15:03:37.01","20/04/2017 (5)","15:03:37.010",15.481999999999999,"12057-S3-11",39,"Normal",1,724000,36000,47.6,1,"Below LOD","Below LOD",144,35,340,140,13,1.4,30,15,36,24,36,2,4.5,0.53,1.32,0.52,28.3,9.4,0.38,0.11,0.309,5.7000000000000002E-2,2.44,0.66,6.1000000000000004E-3,4.3E-3,"Below LOD","Below LOD","Below LOD","Below LOD",1.71,0.48,0.13,4.2000000000000003E-2,0.121,0.03,1.9300000000000001E-2,5.8999999999999999E-3,9.4000000000000004E-3,3.8E-3,"Below LOD","Below LOD",2.0299999999999999E-2,5.4000000000000003E-3,1.7000000000000001E-2,4.5999999999999999E-3,2.7000000000000001E-3,1.2999999999999999E-3]
["Output_1_25","Sequence","20/04/2017 (5) 15:04:35.10","20/04/2017 (5)","15:04:35.100",24.315000000000001,"12057-S3-12",59,"Normal",1,572000,12000,47.6,1,"Below LOD","Below LOD",3.2,1.4,11,5.6,18.7,2.1,6.4,1.5,5.43,0.47,19.89,0.67,2.09,0.23,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",0.61299999999999999,5.0999999999999997E-2,0.1,3.5000000000000003E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",3.5000000000000003E-2,1.2999999999999999E-2,"Below LOD","Below LOD",3.8999999999999998E-3,2.8E-3,"Below LOD","Below LOD","Below LOD","Below LOD",5.7000000000000002E-3,3.3999999999999998E-3,"Below LOD","Below LOD","Below LOD","Below LOD",4.6000000000000001E-4,3.3E-4]
["Output_1_26","Sequence","20/04/2017 (5) 15:05:32.35","20/04/2017 (5)","15:05:32.350",24.786999999999999,"12057-S3-13",61,"Normal",1,611000,15000,47.6,1,2.33,0.62,1.22,0.26,12.9,4.2,15.6,1.3,58.9,7.6,58.1,7.8,21.47,0.65,2.59,0.2,1.88,0.43,57,11,"Below LOD","Below LOD",0.49399999999999999,0.04,1.37E-2,4.0000000000000001E-3,9.5999999999999992E-3,2.2000000000000001E-3,"Below LOD","Below LOD","Below LOD","Below LOD",3.7400000000000003E-2,8.6999999999999994E-3,3.5999999999999999E-3,1.5E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",2.8E-3,1.5E-3,"Below LOD","Below LOD",9.3000000000000005E-4,9.2000000000000003E-4]
["Output_1_27","Sequence","20/04/2017 (5) 15:06:28.41","20/04/2017 (5)","15:06:28.410",15.962999999999999,"12057-S3-14",39,"Normal",1,856000,47000,47.6,1,"Below LOD","Below LOD",124,59,350,170,13.2,1.2,22.4,7.3,25.4,9.5,26.7,7.1,4,1.9,1.39,0.97,34,18,0.95,0.56000000000000005,0.58099999999999996,4.2000000000000003E-2,3,1.4,7.1000000000000004E-3,4.4999999999999997E-3,"Below LOD","Below LOD",3.6999999999999998E-2,0.02,2.4,1.1000000000000001,0.12,5.1999999999999998E-2,0.14699999999999999,6.8000000000000005E-2,2.8000000000000001E-2,1.4E-2,1.12E-2,5.8999999999999999E-3,"Below LOD","Below LOD",7.9000000000000001E-2,2.7E-2,3.1E-2,1.6E-2,3.3E-3,1.6000000000000001E-3]
["Output_1_28","Sequence","20/04/2017 (5) 15:08:22.73","20/04/2017 (5)","15:08:22.730",28.163,"12057-S3-16",70,"Normal",1,693000,26000,47.6,1,1.24,0.56000000000000005,140,34,340,140,11.5,1.1000000000000001,20.100000000000001,1,20.3,2,19.7,1.4,5,2.4,1.01,0.43,140,230,0.29199999999999998,8.2000000000000003E-2,0.93799999999999994,0.04,1.4,0.31,2.0600000000000002E-3,6.7000000000000002E-4,"Below LOD","Below LOD","Below LOD","Below LOD",1.1399999999999999,0.28000000000000003,6.4000000000000001E-2,1.7999999999999999E-2,7.6999999999999999E-2,2.1999999999999999E-2,1.2500000000000001E-2,3.7000000000000002E-3,4.8999999999999998E-3,2E-3,"Below LOD","Below LOD",2.75E-2,7.4000000000000003E-3,1.0200000000000001E-2,2.7000000000000001E-3,2.64E-3,8.8999999999999995E-4]
["Output_1_29","Sequence","20/04/2017 (5) 15:09:23.24","20/04/2017 (5)","15:09:23.240",25.277000000000001,"12057-S3-17",62,"Normal",1,573000,17000,47.6,1,"Below LOD","Below LOD",0.37,0.19,10.1,4.3,16.3,1.2,27.3,1.3,28.2,1.5,16.670000000000002,0.67,2.08,0.23,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",0.83799999999999997,5.1999999999999998E-2,1.9E-2,6.8999999999999999E-3,0.32800000000000001,4.7E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",1.5100000000000001E-3,6.2E-4,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",5.5999999999999999E-3,2E-3,"Below LOD","Below LOD","Below LOD","Below LOD"]
["Output_1_30","Sequence","20/04/2017 (5) 15:10:21.48","20/04/2017 (5)","15:10:21.480",15.61,"12057-S3-18",38,"Normal",1,639000,25000,47.6,1,"Below LOD","Below LOD",2.6,2.1,9.5,5.5,14.8,1.5,2.0299999999999998,0.37,1.82,0.27,15.15,0.96,1.8,0.24,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",0.52100000000000002,4.5999999999999999E-2,4.8000000000000001E-2,2.7E-2,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",6.4000000000000001E-2,0.03,1.4E-3,1.5E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",5.4999999999999997E-3,2.8E-3,"Below LOD","Below LOD","Below LOD","Below LOD"]
[]
["Short_signal_1","Sequence","20/04/2017 (5) 14:28:43.56","20/04/2017 (5)","14:28:43.560",2.0508000000000002,"15012-S3-1",5,"Normal",1,570000,140000,47.6,1,"Below LOD","Below LOD",227,97,480,120,25.9,6.2,80,57,140,170,3000,5700,21.7,6.3,4.0999999999999996,2.1,89,47,8.1999999999999993,7.6,0.76,0.27,1.91,0.67,2.5000000000000001E-2,2.5999999999999999E-2,"Below LOD","Below LOD",2.1000000000000001E-2,1.7999999999999999E-2,1.27,0.59,5.8400000000000001E-2,8.8000000000000005E-3,5.3999999999999999E-2,3.6999999999999998E-2,2.3E-2,1.7000000000000001E-2,"Below LOD","Below LOD",0.06,0.13,0.33,0.14000000000000001,5.6000000000000001E-2,2.3E-2,9.5999999999999992E-3,7.6E-3]
["Short_signal_2","Sequence","20/04/2017 (5) 14:31:38.47","20/04/2017 (5)","14:31:38.470",5.9379,"15012-S3-4",15,"Normal",1,530000,100000,47.6,1,"Below LOD","Below LOD",90,31,152,62,18.3,3.9,76,41,116,58,96,24,11.3,3,0.57999999999999996,0.86,24.8,7.3,0.39400000000000002,7.6999999999999999E-2,0.59,0.15,0.79,0.38,7.6E-3,3.5999999999999999E-3,"Below LOD","Below LOD","Below LOD","Below LOD",0.56999999999999995,0.23,1.8100000000000002E-2,5.3E-3,1.8700000000000001E-2,8.8999999999999999E-3,"Below LOD","Below LOD","Below LOD","Below LOD","Below LOD","Below LOD",0.10199999999999999,1.7999999999999999E-2,"Below LOD","Below LOD",2.3E-3,1.4E-3]