## Sheet1
id | type | subtype | author | luAuthor | editor | luEditor | department | departmentName | mainTitle | alternativeTitle | publisher | pagesCount | pagesStart | pagesEnd | isbn | issn | otherPublicationIdentifier | externalIdentifier | reportNumber | patentNumber | publishingYear | publishingDate | abstract | popAbstract | subject | keyword | publication | otherPublication | volume | issue | conferenceName | conferenceLocation | conferenceDate | defenseDate | defenseTime | defenseLocation | rightsOwnersStatement | publicationStatus | language | download_url | doi | link | project | researchGroup | funder | dateLastChanged | dateSubmitted | dateApproved | dateFirstPublic | isNonLuPublication | has_file | has_open_access_file | isHigherEducation | isPopularScience | isQualityControlled | relatedMaterial
245b95d4-ad84-40ed-82bd-c900a3eed07e | licentiateThesis |  | Stråth, Niklas | Stråth, Niklas (iea-nst) |  |  | v1000203 | Industrial Electrical Engineering and Automation | Islanding Detection in Power Systems |  | Department of Industrial Electrical Engineering and Automation, Lund Institute of Technology | 113 |  |  | 91-88934-42-X | [5 empty] | 2005 | 2005 | ENG: As the contribution of dispersed or distributed energy resources (DER) to<br/><br> the electric power production increases, the effects on the power system<br/><br> grow more important. As an example a critical situation may arise if<br/><br> protective relays trip a large part of the dispersed generation due to<br/><br> undervoltage at a short-circuit event. On the other hand it is crucial that the<br/><br> protection system acts correctly to protect life and property in other<br/><br> situations. These qualities are referred to as security and dependability.<br/><br> There are a number of different kinds of anti-islanding or loss-of-mains<br/><br> protections. Some are implemented in practice while others are still on a<br/><br> research level. This thesis provides an analysis of benefits and drawbacks<br/><br> of methods that are applied today. The ability of the different methods to<br/><br> avoid nuisance tripping and provide robust protection is investigated.<br/><br> To draw the attention to industrial experience, some cases are described<br/><br> where dispersed generations were nuisance tripped. Recordings from<br/><br> islanding events are presented and analyzed. Performance of present anti<br/><br> islanding protections is commented.<br/><br> A comparison of grid codes in Sweden, Denmark and Germany serves as<br/><br> an example of the situations in different countries. Today there are<br/><br> differences in the connection requirements depending on different designs<br/><br> of the distribution systems. These varying requirements lead to different<br/><br> demands on the islanding detection devices. The thesis summarizes the<br/><br> technical requirements on the islanding portion of the protection system.<br/><br> To compare the protection algorithms, they are exposed to challenging<br/><br> situations in a common simulation environment. In the simulation model, a<br/><br> DER-unit (induction generator) is connected to a typical distribution grid.<br/><br> The grid consists of two 20 kV feeders connected to a 130 kV network<br/><br> equivalent via a common bus bar and a transformer. Additional feeders are<br/><br> modeled with generic load and shunt capacitances. <br/><br> The concept of distributed energy resources is moving from being a local<br/><br> issue towards a system issue. The islanding protection devices being used<br/><br> in the future have to reflect this. The thesis aims at describing this process<br/><br> and ends with a list of possibly unresolved issues. |  | Other Electrical Engineering, Electronic Engineering, Information Engineering | [12 empty] | published | eng | https://lup.lub.lu.se/search/files/5935703/587933.pdf |  | http://www.iea.lth.se/publications/Theses/LTH-IEA-1051.pdf |  |  |  | 2018-11-21 21:09:11 |  | 2016-04-04 12:08:12 | 2016-04-04 12:08:12 | N | Y | Y | N | N | N