## Sheet1
id | type | subtype | author | luAuthor | editor | luEditor | department | departmentName | mainTitle | alternativeTitle | publisher | pagesCount | pagesStart | pagesEnd | isbn | issn | otherPublicationIdentifier | externalIdentifier | reportNumber | patentNumber | publishingYear | publishingDate | abstract | popAbstract | subject | keyword | publication | otherPublication | volume | issue | conferenceName | conferenceLocation | conferenceDate | defenseDate | defenseTime | defenseLocation | rightsOwnersStatement | publicationStatus | language | download_url | doi | link | project | researchGroup | funder | dateLastChanged | dateSubmitted | dateApproved | dateFirstPublic | isNonLuPublication | has_file | has_open_access_file | isHigherEducation | isPopularScience | isQualityControlled | relatedMaterial
7e43632c-1c3c-4c16-8c6a-acff7ef6482e | journalArticle | original | Gils, Charlotte; Ramanathan, Ramshanker; Breindahl, Torben; Brokner, Mette; Christiansen, Anne L.; Eng, Oyvin; Hammer, Ida J.; Herrera, Catherine B.; Jansen, Aina; Langsjoen, Eva C.; Lokkebo, Elisabeth S.; Osestad, Toril; Schroder, Anne D.; Walther, Lisa | Walther, Lisa (klke-lm0) |  |  | v1000555 | Division of Clinical Chemistry and Pharmacology | NT-proBNP on Cobas h 232 in point-of-care testing: Performance in the primary health care versus in the hospital laboratory |  | Informa Healthcare |  | 602 | 609 |  | 1502-7686 |  | WOS:000361321700010; Scopus:84940460241; PMID:26305423 |  |  | 2015 | 2015 | ENG: Background. NT-proBNP may be useful for ruling out heart failure in primary health care. In this study we examined the analytical quality of NT-proBNP in primary health care on the Cobas h 232 point-of-care instrument compared with measurements performed in a hospital laboratory. Materials and methods. Blood samples requested for NT-proBNP were collected in primary health care (n = 95) and in a hospital laboratory (n = 107). NT-proBNP was measured on-site on Cobas h 232 instruments both in primary health care centres and at the hospital laboratory and all samples were also analyzed with a comparison method at the hospital. Precision, trueness, accuracy, and lot-variation were determined at different concentration levels and evaluated according to acceptance criteria. Furthermore user-friendliness was assessed by questionnaires. Results. For Cobas h 232 repeatability CV was 8.5-10.7% in the hospital setting and 5.3-10.0% in the primary health care and within the analytical quality specifications, but higher than with the comparison method (&lt;4%). NT-proBNP results obtained in primary health care were significantly higher than by the hospital comparison method (bias ranged from 14.3-23.7%), whereas there was no significant bias when Cobas h 232 was used in the hospital setting (bias ranged from 4.9 to 7.0%). User-friendliness of Cobas h 232 was overall acceptable. Conclusion. Cobas h 232 point-of-care instrument for measurement of NT-proBNP performed satisfactorily with regard to precision, user-friendliness, and lot-variation. A decrease in NT-proBNP levels observed in samples transported to a central laboratory needs further attention and investigation. |  | Health Care Service and Management, Health Policy and Services and Health Economy---Cardiac and Cardiovascular Systems | Natriuretic peptide---biological markers---heart disease---point-of-care---systems---validation studies | Scandinavian Journal of Clinical & Laboratory Investigation |  | 75 | 7 | [7 empty] | published | eng |  | 10.3109/00365513.2015.1066846 |  |  |  |  | 2022-03-29 21:30:20 |  | 2016-04-01 14:32:00 | 2016-04-01 14:32:00 | N | N | N | N | N | N