## Sheet1
id | type | subtype | author | luAuthor | editor | luEditor | department | departmentName | mainTitle | alternativeTitle | publisher | pagesCount | pagesStart | pagesEnd | isbn | issn | otherPublicationIdentifier | externalIdentifier | reportNumber | patentNumber | publishingYear | publishingDate | abstract | popAbstract | subject | keyword | publication | otherPublication | volume | issue | conferenceName | conferenceLocation | conferenceDate | defenseDate | defenseTime | defenseLocation | rightsOwnersStatement | publicationStatus | language | download_url | doi | link | project | researchGroup | funder | dateLastChanged | dateSubmitted | dateApproved | dateFirstPublic | isNonLuPublication | has_file | has_open_access_file | isHigherEducation | isPopularScience | isQualityControlled | relatedMaterial
8e7feda0-c8ce-434e-a394-fca663d26dc0 | journalArticle | original | Dreier, Till; Peruzzi, Niccoló; Lundström, Ulf; Bech, Martin | Dreier, Till (ti0604dr); Peruzzi, Niccoló (ni1537pe); Bech, Martin (med-mbh) |  |  | v1000468; v1001052 | Medical Radiation Physics, Lund---X-ray Phase Contrast | Improved resolution in x-ray tomography by super-resolution |  | Optical Society of America | 12 | 5783 | 5794 |  | 2155-3165 |  | Scopus:85109325379; PMID:34263797 |  |  | 2021 | 2021-07-06 | ENG: In this paper, super-resolution imaging is described and evaluated for x-ray tomography and is compared with standard tomography and upscaling during reconstruction. Blurring is minimized due to the negligible point spread of photon counting detectors and an electromagnetically movable micro-focus x-ray spot. Scans are acquired in high and lowmagnification geometry, where the latter is used to minimize penumbral blurring fromthe x-ray source. Sharpness and level ofdetail can be significantly increased in reconstructed slices to the point where the source size becomes the limiting factor. The achieved resolution of the different methods is quantified and compared using biological samples via the edge spread function, modulation transfer function, and Fourier ring correlation. |  | Radiology, Nuclear Medicine and Medical Imaging---Other Physics Topics |  | Applied Optics |  | 60 | 20 | [7 empty] | published | eng |  | 10.1364/AO.427934 |  |  | X-ray Phase Contrast |  | 2025-04-04 14:22:46 |  | 2021-07-14 16:01:41 | 2021-07-14 16:01:41 | N | N | N | N | N | N