## Sheet1
id | subtype | subtypeId | author | luAuthor | department | departmentName | mainTitle | alternativeTitle | courseCode | courseTerm | supervisor | luSupervisor | isbn | issn | otherPublicationIdentifier | reportNumber | publishingYear | abstract | popAbstract | subject | keyword | publication | language | download_url | doi | link | funder | dateLastChanged | dateSubmitted | dateApproved | dateFirstPublic | has_file | has_open_access_file | relatedMaterial
9205595 | Bachelor Degree | M2 | Hellberg, Kajsa; Mahmutovic, Alen | Hellberg, Kajsa (9205593); Mahmutovic, Alen (9205604) | v1000202 | Division for Biomedical Engineering | Digital inspelning av blodtrycksmätning under magnetisk resonanstomografi | Digital recording of blood pressure measurements during magnetic resonance imaging | EEML05 | 20251 | Töger, Johannes | Töger, Johannes (1052023) |  |  |  |  | 2025 | ENG: Background: Invasive blood pressure (IBP) monitoring during magnetic resonance imaging (MRI) is primarily used in research and intensive care. A monitoring system displays IBP in real time, and there is currently no solution that enables digital recording of this data. The aim of this project was therefore to facilitate clinical research by enabling digital recording of invasive blood pressure. Methods: The solution was based on hardware, software and validation. An analog pressure signal was extracted via the monitor system’s gating connector and digitized using a data acquisition device (DAQ). The signal was displayed and recorded in LabVIEW with millisecond-level resolution. Validation included comparison between the digital signal, the displayed pressure on the monitor, and a reference value derived from a water column. Signal-to-noise ratio (SNR), linear regression, and Bland-Altman analysis were used to evaluate signal quality and agreement. Results: A linear relationship was observed between the analog signal and the monitor pressure, where 1 mmHg corresponded to 3.8 mV, with a constant voltage offset. The comparison with the water column showed a near 1:1 ratio (1 mmHg to 1.016 mmHg), confirming the system’s accuracy. The SNR was measured to 70 dB. Conclusion: This method offers a practical tool for researchers aiming to analyze blood pressure data in parallel with MRI, thereby opening up new possibilities for cardiovascular research and clinical insights. |  | Technology and Engineering |  |  | swe | http://lup.lub.lu.se/student-papers/record/9205595/file/9205610.pdf |  |  |  | 2025-07-01 09:41:05 | 2025-07-01 09:17:33 | 2025-07-01 09:41:05 | 2025-07-01 09:41:05 | Y | Y